Code No.: OR-221151

OR

II B.Tech II-Semester Supplementary Examinations April-May 2003

BIO-MEDICAL INSTRUMENTATION

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 70

Answer any five questions

All questions carry equal marks

---

1.a)	Describe the construction and working of LDR and photovoltaic cell.

b)	Describe the construction and working of microphone.  State its application in the field of medicine.

2.	Explain in detail about resistive type and inductive type transducer.  State its application in the field of medicine.

3.a)	Explain with the help of scheme, the measurement of PH value of blood.

b)	Explain in detail about ultrasonic diathermy.

4.a)	State the general features of display devices used for displaying bio signal.

b)	State the layout and the safety precaution to be considered while using equipments in an intensive care unit.

5.a)	Draw an overall electronic control and monitoring system used in hospitals for monitoring the physiological events.  Explain the function of each module used in these systems.

b)	Explain with help of a block diagram the operation of microwave diathermy.

6.a)	How the membrane potential of a nerve fiber can be measured using micro electrode.

b)	Describe the construction and working of phototransistor.

7a)	Explain the operation of an instrumentation amplifier.  Determine its gain.

b)	With neat circuit diagram explain integrator and differentiator.

8.	Explain the following terms:

a) Resting and Action potential of a cell.

b) Depolarisation and repolarisation of a cell.

c) Polarisable and non-polarisable electrodes.

&&&&&