Code No. 211001

Set. No.

1

II-B.Tech I-Semester Supplementary Examinations, June 2003

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Bio-Medical Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Enumerate the various losses and methods to minimize them in a D.C. Machine.

b)	How do hysteresis, eddy current, friction and windage losses depend upon the speed of a D.C. Machine? Explain.

c)	A 200V D.C. Shunt machine has armature and field resistances 0.2and 200respectively. The line current is 40A. Find i) output as generator, ii) input as motor iii) power developed in armature and iv) copper losses in both the cases.

2. a)	Deduce the condition for maximum efficiency of a D.C. Generator.

b)	What do you understand by Constant losses in a D.C. Machine

c)	A shunt generator has a full load current of 195A at 250V. The stray losses are 720W and the shunt field coil resistance is 50. It has a full load efficiency of 90%. Find the armature resistance. Also find the current corresponding to maximum efficiency.

3. a) 	Explain the principle of operation of a single-phase transformer when it supplies lagging power factor load. Draw the phasor diagram under this condition.

b) 	A 4 kVA, 200 / 400 V, 50 Hz, transformer gave the following the test figures:

No Load:	 Low voltage data: 200 V, 0.7 A, 60 W;

Short Circuit: High voltage data: 9 V, 6 A, 21.6 W.

Calculate the magnetizing current and component corresponding to iron loss at normal voltage and frequency.  Find the efficiency on full load at unity power factor.  Also determine the regulation at half-full load 0.707 leading power factor.

4. a) 	Explain the O.C. and S.C. tests on the transformer and hence explain the evaluation of equivalent circuit from it.

b) 	In a 25kVA, 2000/200V transformer the iron and copper losses are 350 and 400W respectively. Calculate the efficiency on upf at (i) full load and (ii) half load.     (iii) Determine the load for maximum efficiency and the copper loss in this case.

Contd…2

Code No. 211001				.2.				Set No. 1

5. a)	Explain the principle of rotating magnetic field and hence prove that it is of constant magnitude and rotates at synchronous speed.

b)	A 3-phase, 50 Hz induction motor has a full-load speed of 1440 r.p.m. For this motor, calculate the following (i) number of poles (ii) full-load slip and rotor frequency (iii) speed of stator field with respect to (a) stator structure and (b) rotor structure and (iv) speed of rotor field with respect to (a) rotor structure (b) stator structure and (c) stator field.

6. a)	A 6-pole 3-phase, 50HZ alternator has 12 slots per pole and four conductors per slot. The winding is five-sixths pitch. The flux per pole is 1.5wb; the armature coils are all connected in series. The winding is star connected. Calculate the induced e.m.f. per phase.

b)	A 3-phase, 10KVA, 400V, 50HZ alternator has per phase armature resistance and synchronous reactance of 0.5ohm and 2.5 ohm respectively. Calculate the generated voltage corresponding to (i) full load unity power factor   (ii) full load 0.85 lagging po0wer factor.

7. a)	Explain the principle of working of synchronous motor.

b) 	A 3phase, 1385v star connected synchronous motor having synchronous reactance of 2ohm per phase and negligible resistance takes an input of 207.8kw with an induced e.m.f of 916.5v per phase. Calculate the motor line current and its power factor.

8. a)	“Single phase induction motors are not self starting”.  Explain Why?

b)	How is single phase induction motors made self starting?  Explain any one 	method.

###

Code No. 211001

Set. No.

2

II-B.Tech I-Semester Supplementary Examinations, June 2003

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Bio-Medical Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Derive the equation for the e.m.f. induced in a D.C. Machine.

b)	A long shunt dynamo running at 1,000rpm supplies 22kw at a terminal voltage 220V. The resistance of armature, shunt field and series field are 0.05, 110 and 0.06 ohms respectively. The overall efficiency at above load is 88%. Find             i) copper loss, ii) iron and friction losses.

2. a)	What is the significance of the back e.m.f. of a D.C. Motor?

b)	Deduce the condition for maximum power for a D.C. Motor?

c)	A 220V shunt motor with an armature resistance of 0.5 is excited to give constant main field. At full load the motor runs at 500 rpm and takes an armature current of 30A. If a resistance of 1.0 is placed in the armature circuit, find the speed at i) full-load torque ii) double full-load torque.

3. a) 	Discuss the constructional features of transformers, with neat sketches.

b) 	Calculate the flux in the core of a single-phase transformer having a primary voltage of 230 V, at 50 Hz and 50 turns. If the flux density in the core is 1Tesla, calculate the net cross-sectional area of the core.

4. a)	Derive the condition for maximum efficiency of a transformer.

b) 	The parameters of the equivalent circuit for a 1-phase transformer are R0 = 400 , X0 = 231 , Rt = 0.16  and Xt = 0.7 . The input voltage is 200 V, and load 5.96+j 4.44. (All values are referred to primary.) The ratio of secondary to primary turns is 10. Find  the secondary terminal voltage; the primary current; and the efficiency.

5. a)	Explain why the rotor of polyphase induction motor can never attain synchronous speed.

b)	A 10 kW, 400 V, 3-phase, 4-pole, 50 Hz delta connected induction motor is running at no load with a line current of 8 A and an input power of 660 watts. At full load, the line current is 18 A and the input power is 11.20 kW. Stator effective resistance per phase is 1.2  and friction, windage loss is 420 watts. For negligible rotor ohmic losses at no load, calculate, (i) stator core loss ; (ii) total rotor losses at full load ; (iii) total rotor ohmic losses at full load ; (iv) full load speed; (v) internal torque, shaft torque and motor efficiency.

Contd…2

Code No. 211001				.2.				Set No. 2

6. a)	Draw a neat sketch showing the various parts of a synchronous machine and explain the function of each part briefly.

b)	A 3ph, 50 Hz, 20 poles Salient pole alternator with star connected stator winding has 180 slots on the stator. Each slot consists of 8 conductors. The flux per pole is 25mwb and is sinusoidally distributed. The coils are full pitch. Calculate (i) the speed (ii) the generated e.m.f per phase and (iii) the line e.m.f.

7. a)	Explain why a synchronous motor doesn’t have self-starting torque. Explain one method of starting a synchronous motor.

b)	A 3phase, 3300v, star connected synchronous motor has a synchronous reactance of 5ohm per phase. The input to the motor is 1000kw at a normal voltage and the induced line e.m.f is 4000v.Calculate the line current. Neglect armature resistance.

8. a)	Explain the operation of a single phase induction motor on the basis of double revolving field theory.

b)	Draw a typical torque-speed curve of a single phase induction motor on the   basis of double revolving field theory.

###

Code No. 211001

Set. No.

3

II-B.Tech I-Semester Supplementary Examinations, June 2003

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Bio-Medical Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Sketch the Magnetization and Load characteristics of a D.C. shunt Generator? Explain them.

b)	The open-circuit characteristic of a shunt generator at 800rpm gives:

Field Current (A)	0	0.5	1.0	2.0	3.0	4.0	5.0

Induced emf (V)	10	50.0	100.0	175.0	220.0	245.0	262.0

Find graphically the critical resistance of shunt field circuit. If the field circuit resistance is changed to 75, what will be the critical speed for the machine to build up.

2. a)	Explain various power  stages of  in a D.C. Motor.

- What will happen when a D.C. Series  Motor is started without a load connected to it?

c)	A 200V d.c. series motor runs at 750 rpm when taking a current of 30A. The resistance of the armature is 0.5 and that of field is 0.3. If the current remains constant, calculate the resistance necessary to reduce the speed to 250rpm.

3. a)	Compare between core type and shell type transformers.

b) 	Derive the emf equation of a 1-phase transformer and calculate the emf / turn, if the flux is 0.015 wb at a frequency of 50 Hz.

4.	Write short notes on:

- OC and SC tests on transformers.

- Losses in transformers.

5. a)	Explain the principle of operation of a 3-phase induction motor.

b)	A 10 kW, 400 V, 3-phase, 4-pole, 50 Hz slip-ring induction motor develops rated output (i.e. 10 kW) at rated voltage and frequency and with its slip rings short-circuited. The maximum torque equal to twice the full-load torque, occurs at a slip of 10% with zero external resistance in the rotor circuit. Stator resistance and rotational loss are neglected. Determine (i) slip and rotor speed at full-load torque, (ii) rotor ohmic loss at full-load torque, (iii) starting torque at rated voltage and frequency, (iv) starting current in terms of full-load current, (v) stator current at maximum torque, in terms of full-load current and  (vi) full-load efficiency.

Contd…2

Code No. 211001				.2.				Set No. 3

6. a)	Define voltage regulation of an alternator. Explain synchronous impedance method of determining regulation of an alternator.

b)	Calculate the voltage induced per phase in a 3phase 50 Hz, alternator having a flux per pole of 0.1515 wb. The no. of conductors in series are 360. Assume full pitch coil with a distribution factor of 0.96.

7. a)	Explain auxiliary motor starting of synchronous motors.

b)	A 3-phase alternator is rated at 5 KVA, 110V, 26.3A, 50 Hz and 1200 r.p.m. The stator resistance between terminals as measured with dc is 0.2 ohm. With no load and rated speed the stator line voltage is 160V for a field current of 4A.At rated speed, the short circuit stator current per terminal is 50A for a field current of 4A.compute voltage regulation of alternator at 0.8 p.f. Lagging. Use synchronous impedance method.

8. a)	Describe the construction and working principle of shaded pole induction motor.

b)	Give typical applications of capacitor star, split phase, permanent capacitor, shaded pole induction motors.

###

Code No. 211001

Set. No.

4

II-B.Tech I-Semester Supplementary Examinations, June 2003

ELECTRICAL TECHNOLOGY

(Common to Electronics and Instrumentation Engineering, Bio-Medical Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1. a)	Compare the operation of a D.C. Generator and Motor, and mention one application of each machine.

b)	A d.c. shunt machine connected to 250V mains has an armature resistance (including brushes) of 0.1 and the resistance of the field circuit is 125. Find the ratio of the speed as a generator to the speed as a motor, the line current in each case being 80A.

2. a)	Compare the different methods of speed control of a D.C. Shunt Motor?

b)	What is the application of divertors provided for D.C. Motors?

c)	A 250V shunt motor has an armature current of 20A when running at 1000rpm against full-load torque. The armature resistance is 0.5. What resistance must be inserted in series with the armature to reduce the speed to 500rpm at the same torque, and what will be the speed if the load torque is halved with this resistance in the circuit. Assume the flux to remain constant throughout and neglect brush contact drop.

3. a)	Explain the operation of transformer on load.

b) 	A single-phase transformer with a ratio of 440 / 110 V takes a no-load current of 5 A at 0.2 power factor lagging. If the secondary supplies a current of 120 A at a power factor of 0.8 lagging, estimate the current taken by the primary.

4. a)	Define regulation. Obtain the condition for zero regulation of a transformer.

b) 	In a 20kVA, 2000/200V transformer the iron and copper losses are 300 W and 400W respectively. Calculate the efficiency with 0.8 power factor at (i) full load and (ii) 60% of full load. (iii) Determine the load for maximum efficiency and the iron and copper loss in this case.

5. a)	Define slip. Hence deduce the expression for i) Frequency of rotor current          ii) Rotor induced e.m.f under running condition of a 3-phase induction motor.

b)	A 60 kW, 400 V, 3-phase, 6-pole, 50 Hz wound rotor induction motor has a full-load slip of 0.04 when operating at rated voltage and frequency with rotor winding short circuited at slip rings. The slip at maximum torque is 0.2. Stator resistance and rotational losses are neglected. Determine (i) the maximum torque and (ii) full-load rotor ohmic losses. Rotor resistance is now doubled by adding external series resistance in each rotor phase. For the rated power output, determine (iii) slip at maximum torque (iv) full-load slip and (v) full-load torque.

Contd…2

Code No. 211001				.2.				Set No. 4

6. a)	A 2-pole 3-phase alternator stator has a total of 270 armature conductors on it. The total flux per pole is 1.8*106 lines. If the frequency of the generated voltage is 50HZ, find the induced e.m.f per phase.

b)	A 3-phase 4-pole synchronous generator has a double layer winding having four turns per coil placed in a total of 48 slots. If the flux per pole of the generator is 2*106 lines and speed of the rotor is 1500 r.p.m. Calculate the magnitude of generated voltage per phase.

7. a)	Draw the phasor diagram of the synchronous generator on load. Explain the meaning synchronous reactance.

b)	A 4 pole, 400V, 50HZ, 3 phase star connected synchronous motor has a synchronous reactance of 2.0 ohm per phase. The resistance of the stator winding is negligible. The field excitation is so adjusted that the e.m.f induced is equal to the supply voltage. On application of a certain load the rotor is retarded by 4 mechanical degrees. Find the armature current drawn by the motor.

8. a)	What is a synchro? Draw a connection diagram of a synchro transmitter and explain its working.

b)	Explain the working principle of split-phase capacitor-run single phase Induction Motor.

###