Code No. 210155

OR

II-B.Tech. I-Semester Supplementary Examinations June 2003

BUILDING MATERIALS AND CONSTRUCTION

(Civil Engineering)

Time: 3 hours							     Max. Marks:70

Note:- 1.  Answer any Five questions selecting a minimum of two from each part.

2.  All questions carry equal marks

- - -

PART-A

1.a)	How are rocks physically and chemically classified?

b)	What are the factors that govern the selection of site for quarrying?

2.a)	Describe the various constituents of good brick earth.

b)	Enumerate the characteristics of good bricks.

3.a)	Explain (i) Fat lime	(ii) Hydraulic line	(iii) Poor line.

b)	Enumerate the laboratory tests for cement and describe any three of them.

4.a)	Enumerate properties and uses of Aluminium.

b)	List out properties and uses of 	(i) Particle boards	(ii) Fibre boards.

PART-B

5.	Explain with neat sketches any TWO of the following types of foundations:

- Raft foundation

- Grillage foundation

- Under reamed pile foundation.

6.a)	List out the various types of pitched roofs and write a short notes on couple roof.

b)	What are the factors which affect the choice of flooring material? Describe Terrazo flooring.

7.a)	Mention the object of distempering and enumerate its ingredients. How is it applied?

b)	Describe the procedure for carrying out the plastering in cement mortar in two coats.

8.	Draw a neat sketch of formwork for a typical R.C.C floor showing all its components parts. What are the important points to be noted in case of such formwork?

***     ***     ***