Code No:210651

OR

II-B.Tech. I-Semester Supplementary Examinations June 2003.

METALLURGICAL ANALYSIS

(Metallurgy and Material Technology)

Time: 3 hours							        Max. Marks:70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	What is the criteria for good indicators for redox titration and explain the function of any two specific indicators.

b)	Describe the tests for qualitative analysis of cations present in brasses and solders.

2.a)	Describe the procedure for determination sulphur content in steel samples.

b)	Give the principle involved in polarography and explain how this technique is useful in qualitative analysis.

3.a)	Briefly explain how the interfering radicals are eliminated, giving two specific examples.

b)	Explain in detail sampling of ores and alloys.

4.	Describe the estimation of the following, giving the necessary chemical evaluation.

a)	Copper in brass

b)	Chromium in alloy steel and

c)	MnO2 pyrohlite.

5.a)	Explain ampero metric titration with suitable examples.

b)	Describe a procedure for the determination of CaO in a sample of lime stone.

6.a)	Give the block diagram of a calorimeter and explain the function of each component. Show that A = 2-log%T.

b)	Explain the determination of silicon and phosphorus in cast iron.

7.	Write short notes on any four of the following:

a)	Fine array of silver ores.

b)	Potentiometric titrations.

c)	Sampling of gaseous materials.

d)	Flame photometry and

e)	Importance of instrumental methods of analysis.

8.a)	Describe potentiometric titration of oxidation reduction and mention how unequivalence point is obtained from graph.

b)	What is the principle involved in electrogravimetry and explain how is copper determined electrogravimetrically from solution.

^^^