Code No: 211002

Set No.

1

II-B.Tech. I Semester (Supplementary) Examination, June 2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours.							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Compare cyclodial  and involute tooth gears.

b)	Discuss the basic principle of internal gears.

2.	With relevant diagram explain how the temperature is measured using pneumatic temperature transmitter.

3.	Explain in detail about permanent magnet stepper motor with neat sketches.

4.a)	Discuss about system functions of potentiometers.

b)	Discuss about performance characteristics of petentiometers.

5.	Given the constructional features of the following resistors.

a)  Carbon-composition resistor   b) Thin film resistor   c)  Thick film resistor

6.a)	What is a zener diode?  Explain the volt-ampere characteristics of the zener diode under reverse bias conditions.

b)	Draw the equivalent circuit of an ideal zener diode in the breakdown region.

c)	Mention some applications of zener diode.

7.a)	Explain how LED is used for industrial applications?

b)	Describe the functional details of optocoupler.

8.a)	List the type of optical filters available.  Explain any one.

b)	Explain any two types of mountings in which grating is used.

&&&&&

Code No: 211002

Set No.

2

II-B.Tech. I Semester (Supplementary) Examination, June 2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	Describe in detail about the spiral gears and derive its efficiency.

2.	How the proportional action is achieved through pneumatic control mechanism.

3.	Explain about multistack stepper motor with suitable diagrams.

4.a)	Given the symbols of different switches that are used in industrial instrumentation.

b)	Explain NO and NC type switches with applications.

5.	Explain briefly, the basic construction of the following resistors.

a)  Variable wire wound resistor	b) Potentiometer	c) Trimmers

6.a)	Explain the working principle of a tunnel diode.

b)	Draw and explain the V-I characteristics of a tunnel diode and indicate the useful region  in the curve.

7.a)	Explain how light emitting diodes are used for the construction of seven segment display?

b)	What are the applications of light dependent resistor?  Explain any one.

8.a)	Discuss the spectral transmittance characteristics of an absorption filter.

b)	What are the parameters to be observed in the design of grating?

&&&&&

Code No: 211002

Set No.

3

II-B.Tech. I Semester (Supplementary) Examination, June 2003

INSTRUMENTATION COMPONENTS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	Classify different types of belt  drives.  Explain the basic principle of the same.

2.	Explain the working principles of manual operation acting of pneumatic controller with auto-manual transfer mechanism.

3.	What is a stepper motor and explain about a variable reluctance stepper motor.

4.	What is the basic principle of magnetic amplifier and explain the control of a.c. current by d.c. current with neat sketch.  Also given the magnetc flux-Current curve of a magnetic material.

5.a)	What is a capacitor? Give their applications.

b)	Describe the important specifications of a capacitor.

c)	Describe the different types of capacitors?

6.a)	With neat sketches briefly explain the construction and working  principle of varactor diode.

b)	What are the important specifications of varactor diode.

7.a)	Discuss the type of materials used for manufacturing Pin diode.

b)	List the applications of optocoupler in the industrial process.  Explain any one.

8.a)	Draw the schematic of an interference filter. Explain.

b)	What are the type of lenses used in optical system?  Explain any two.

&&&&&

Code No: 211002

Set No.

4

II-B.Tech. I Semester (Supplementary) Examination, June 2003

INSTRUMENTATION COMPONENTS

(Common to  Electronics and Instrumentation Engineering and Electronics and control Engineering )

Time: 3 hours.							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	What is “creep” in a belt drive? Give the expression of velocity ratio by considering the creep.  What is the length angle of the belt drive? Bring out merits and demerits of Belt drive.

2.a)	Briefly explain the construction and working details of pneumatic indicator.

b)	Briefly explain the construction and working details of pneumatic recorder.

3.	What is a drive circuit in a stepper motor.  Explain about a unipolar drive circuit.

4.	What is a magnetic amplifier and what are the advantages and disadvantages of magnetic amplifier over other amplifiers.

5.	Write short notes on the following with respect to PN diode.

(a)    Static resistance		(b) Dynamic resistance

(c)  Reverse resistance	(d) Barrier capacitance

6.a) 	Draw and explain the circuit arrangement for determining the common base characteristics of NPN transistor.

b)	Sketch and explain input and output characteristics of a transistor in common bais configuration.

7.a)	Describe how incident light is measured in the photo detector arrays?

b)	Explain the charge carrier recombination takes place in light emitting diode.

8.a)	Describe how gratings  are manufactured with high degree of precision?

b)	Explain how a field lens is used in Instrumentations system?

&&&&&