Code No.221104 Set No. 1

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	What is aliasing? Explain how it can be minimized?

- What is the effect of hystereris in biomedical transducers explain.

2.a)	What are the different sources of error in the bridge measuring circuit of Thermoresistive transducer, explain how can they be minimized.

- What is peltier effect? Explain the different laws of thermocouple.

3.a)	Give the classification of infrared detectors in temperature measurement and explain any one detector.

- Discuss the advantages and disadvantages of photovoltalic cells.

4.a)	Derive an expression for the gauge factor of resistive type of strain gauge.

- Discuss the applications of displacement transducer in biomedical engineering.

5.	Explain how blood flow rate can be measured using Doppler technique.

6.a)	Explain the principle of operation of fiber optic pressure transducers. List its advantages.

- Discuss the application of force balance method of pressure measurement.

7.	Explain the airfilled plethysmography. Compare this with water filled plethysmography.

8.	Write a note on factors influencing the choice and design of transducers in biomedical parameters.

***     ***     ***

Set No. 2

Code No.221104

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	Discuss the different sources of errors in biomedical transducer.

- Discuss the effect of phase distortion in biomedical transducers.

2.	Explain the method of linearization in an thermistor thermometer. With a neat circuit diagram explain the linearized thermistor temperature measuring circuit.

3.a)	Name the different methods used in chemical thermometry. Explain any one method.

- Explain with a neat diagram the pyroelectric detectors.

4.	Discuss the effect of load resistance on potentiometer transducer linearity. Explain how it can be corrected.

5.	With relevant waveforms and block diagram explain the ultrasonic phase lock system for measuring arterial diameters.

6.	List different methods used for measurement of pressure in an organism. Explain with necessary schematic any one method.

7.a)	With necessary schematic and equations explain the theory behind electromagnetic method of flow measurement.

- Discuss the problems encountered in flow probes.

8.	Write a note on Fick and Rapid injection indicator dilution method.

***     ***     ***

Code No.221104 Set No. 3

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	Illustrate with neat schematic the effect of phase distortion in the absence of amplitude distortion.

b)	What are quasi static effect. Explain the effect of any one on biomedical transducers.

2.a)	What are thermopiles? Discuss the fabrication and applications of them.

b)	With a neat circuit diagram explain the servobalanced thermistor thermometry system with digital read out.

3.a)	Explain with a neat block diagram the working of stationary chopped beam radiation thermometer.

- Discuss the merits and demerits of Golay cell detectors.

4.	Discuss the application of two coil inductance displacement transducer system.

5.	Mention the different basic deformation modes of piezoelectric materials. Explain how heart sound can be measured using catheter tip piezoelectric sensor.

6.a)	With a neat block diagram explain the double cuff automatic pressure measuring instrument.

- Explain a suitable method for measurement of pressure in capillaries.

7.a)	With a neat block diagram explain the Doppler shift flowmeter.

- Discuss the application of ultrasonic flowmeters in biomedical engineering.

8.	Write note on chemical thermometry.

***     ***     ***

Code No.221104 Set No. 4

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-TRANSDUCERS AND APPLICATIONS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.	Discuss the different factors influencing the choice and design of a transducer in biomedical measurement.

2.a)	Explain the theory behind P-N junction diode thermometer.

b)	What is Seebeck effect and Peltier effect. Explain how measurement is done using Seebeck effect.

3.a)	Explain the principle of photoconductive and photovoltalic detectors.

- With a neat diagram explain the thermistor bolometer.

4.a)	Explain how temperature compensation is achieved in measurement using strain gauges.

- Discuss the applications of LVDT in biomedical engineering.

5.	With a neat block diagram explain the measurement of unknown velocity using Mossbauer effect. Discuss the effect of sensitivity on source absorber characteristics in this method.

6.	With neat block diagram and necessary waveforms explain the indirect measurement of blood pressure measurement using ultrasonic Doppler effect.

7.	With necessary schematic explain the gated sinewave electromagnetic flow meter.

8.	Write a note on piezoelectric transducers.

***     ***     ***