Code No.221053

OR

II-B.Tech. II-Semester Supplementary Examination January - 2003

INSTRUMENTATION   ENGINEERING-I

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time:3 hours								Max.Marks:70

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	What are transducers? Give a general classification of various types of transducers based on the conversion principle.

- Distinguish between static and dynamic characteristics of an instrument.

2.	Obtain the transient output response of first and second order instrumentation systems to unit step input using differential equation solution method. Give the necessary equations and draw the related graphs.

3.a)	Define gauge factor and derive an expression for the same.

b)	What is a thermistor? Explain the principle used. Plot a graph between resistance and temperature of thermistor and indicate the maximum safe continuous temperature condition.

4.a)	what are magnetostrictive transducers? Explain their operation and discuss one application in detail.

b)	Explain the principle of operation of inductive transducer working on principle of variation of mutual inductance with linear displacement.

5.a)	Explain about applications of capacitive transducers. How they are used for liquid level measurement, explain in detail.

b)	Explain the principle of working of capacitive transducer based on variable gap type.

6.a)	What is Piezoelectricity? List materials exhibiting Piezoelectric property. Derive expressions for voltage sensitivity and charge sensitivity of Piezoelectric material.

b)	What is Piezo resistive effect? Briefly explain. Also list materials exhibiting this property.

7.a)	With schematic diagram, explain about Electrodynamic Force-balance transducer for the measurement of linear acceleration.

b)	Explain the static performance of an Electrodynamic Force-balance acceleration transducer with respect to sensitivity and linearity.

8.	Discuss various optical pyrometers briefly and bring out their usefulness in non-contact temperature measurement.

***     ***     ***