Code No.221105 Set No. 1

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.	Explain the effect of any four factors on the viscosity of blood.

2.a)	Describe the construction and working of a Couette viscometer.

- List the advantages of a cone-plate visometer.

3.	Explain the three features of viscoelasticity in detail.

4.	Discuss the viscoelastic properties of synonial fluid.

5.	Describe the composition and mechanical properties of collagen.

6.	Describe the experimental set up to evaluate the friction coefficient between two articular cartilage surfaces.

7.a)	With the help of a P-V curve of a lung, explain the normal breathing mechanism.

b)	What are the lung mechanical parameters. Differentiate normal and abnormal respiratory states.

8.	Write short notes on:

- Hookes law

- Newtonian and non Newtonian fluids

- Constitutive equation.

***     ***     ***

Set No. 2

Code No.221105

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.	Discuss the effect of any four factors on blood viscosity.

2.	Derive the pressure-flow relationship of a fluid, if its viscosity satisfies Casson’s equation.

3.a)	Discuss the utility of viscoelastic models.

- Explain the instrument used to test a bioviscoelastic fluid.

4.	Explain the Maxwell, voigt and Kelvin models of viscoelasticity.

5.a)	Draw and explain the stress-strain curve of a bone.

- Justify the viscoelastic nature of the bone.

6.	Explain the mechanical behaviour of tendons and ligaments.

7.	Enumerate the mechanical properties of blood capillaries in detail.

8.	Discuss the characteristics of Newtonian, non-Newtonian and viscoelastic fluids.

***     ***     ***

Set No. 3

Code No.221105

II-B.Tech. II-Semester Supplementary Examination January - 2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	What are the factors on which blood viscosity depends?

- Explain the effect of shear rate and temperature on blood viscosity?

2.	Derive the equation for steady, laminar flow of a Newtonian fluid in a circular cylindrical tube.

3.	Explain the working and applications of an oscillating magnetic microrheometer in detail.

4.a)	What are the different viscoelastic models?

- Derive the equations for creep and stress relaxation for a Maxwell model.

5.a)	With reference to laminar flow, define resistance to flow.

- Discuss the effect of various factors on the flow resistance.

6.	Explain in detail the qualitative requirements of prosthetic heart valves.

7.	Correlate the materials and mechanical properties of blood vessels.

8.	Explain any two tests performed to evaluate the mechanical behaviour of articular cartilage.

***     ***     ***

Set No. 4

Code No.221105

II-B.Tech. II-Semester Supplementary Examination January – 2003

BIO-MECHANICS AND BIO-FLUIDS

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any FIVE questions

All questions carry equal Marks

---

1.a)	Discuss the non-Newtonian nature of whole blood.

- How is the blood viscosity determined?

2.a)	Explain the Fahraens-Lindquist effect.

- Discuss the deformability of the red blood cell in microvessels.

3.	Explain the viscoelastic nature of any two bioviscoelastic fluids.

4.	Explain the three viscoelastic models.

5.	Discuss the mechanical behaviour of tendons and ligaments.

6.	Plot and explain the shear rate Vs shear stress characteristics of various types of non-Newtonian fluids.

7.	Describe the mechanical behaviour of blood and blood vessels in any two cardiovascular diseases.

8.	With relevant sketches, explain the mechanical behaviour of arterioles and its physiological significance.

***     ***     ***