Code No.321102

Set No.

1

III-B.Tech. II-Semester Examination April, 2003

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain about different generations of CT machines.

b)	Explain about the reconstruction of NMR images.

2.a)	Explain about the block diagram of an Audiometer.

b)	Explain about Direct and Indirect ophthalmoscopes.

3.	How do you select the “materials” for implanatation.

4.a)	Explain about Xenograft valves.

b)	Explain about “Durbility” and “Fatigue resistance” of a Heart valve.

5.a)	Write about the qualitative requirements of a hemodialyser.

b)	Explain about blood leak detection with a neat schematic.

6.a)	Explain about electronic type artificial Larynx.

b)	What are the design considerations in developing artificial Larynx.

7.a)	Explain about Gamma camera with a neat sketch.

b)	Explain about the principle and working of Hearing aid.

8.	Write short notes on

a)	Color Dopplar

b)	Pulse Duplicator.

***     ***     ***

Code No.321102

Set No.

2

III-B.Tech. II-Semester Examination April, 2003

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain about the block diagram of Magnetic Resonance Imaging system.

b)	Explain the principle and operation of PET with a neat block diagram.

2.a)	Explain about different types of Hearing aids.

b)	Explain about Retinoscope.

3.	How do you avoid the problem of corrosion in bioimplants.

4.a)	Explain about fissure valves.

b)	Explain about the material consideration in designing the heart valves.

5.a)	Explain about membrane dialysers.

b)	Design a circuit for detecting the airbubbles before sending into the blood vessels.

6.a)	Explain about pneumatic type artificial Larynx.

b)	Explain about filtered back projection method of reconstructing the CT images.

7.a)	Explain about different types of Hearing aids.

b)	Explain about the complications following the replacement of mechanical heart valves.

8.	Write short notes on:

a)	Iterative method of CT image reconstruction.

b)	Air conduction and Bone conduction.

***     ***     ***

Code No.321102

Set No.

3

III-B.Tech. II-Semester Examination April, 2003

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain about the SPECT imaging with a neat sketch.

b)	Write about the requirements for real time ultrasonic imaging system.

2.a)	Write short notes on Microphones and receivers.

b)	Explain about pure tone audiometer.

3.	Explain about “Biocompatibility” and its significance in designing the artificial organs.

4.a)	Explain about the design criteria for the Heart valve prosthesis.

b)	Explain about a method to test the performance of Heart valves.

5.a)	Explain about parallel plate dialysers.

b)	Explain about temperature contrual circuit with a neat sketch.

6.a)	Explain about electronic type artificial Larynx.

b)	Write about “Spin-echo” imaging.

7.a)	Explain about a method to measure the threshold of Hearing.

b)	Explain about a method to measure the conductivity of Blood.

8.	Write short notes on

a)	Electronic collimator

b)	Ophfhalmoscope.

***     ***     ***

Code No.321102

Set No.

4

III-B.Tech. II-Semester Examination April, 2003

ADVANCED BIO-MEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain about pulse echo system.

b)	Explain about Rechilinear scanner with a neat sketch.

2.a)	Distinguish between Air conduction and Bone conduction.

b)	Explain the principle and working of IABO with a neat sketch.

3.	How do you avoid the problem of inflammation in artificial implants.

4.a)	Explain about mechanical valves.

b)	Explain about pulse duplicator.

5.a)	Explain about the principle of Dialyser and distinguish between Peritoneal dialysis and Hemodialysis.

b)	What are the parameters to be monitored during Dialysis? Explain their significance.

6.a)	Explain about pneumatic type artificial larynx.

b)	Write short notes on Radio nuclide imaging.

7.a)	Write about the significance of marking in audiometry.

b)	What are the complications following the replacement of tissue heart valves? Explain.

8.	Write short notes on

a)	Gamma camera.

b)	Xenografts.

***     ***     ***