Code No.: 321153

OR

III-B.Tech. II-Semester Examination April, 2003

BIO - MEDICAL EQUIPMENT - I

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 70

Answer any five questions

All questions carry equal marks

---

1.a)	Explain Electro Encephalo Graph (EEG) machine with block diagram.

b)	Write notes on:

i)  EMG

ii)  Blood Gas Analyser.

2.a)	Write notes on:

i)      Blood pressure monitors.

ii)     Ambulatory monitors.

- Briefly discuss about phonocardiography.

3.a)	Explain the governing principle of Heart Lung Machine.

b)	Write notes on:

i)	Nerve stimulators

ii)	Infusion pumps.

4.a)	Write about anaesthetic delivery system.

b)	Explain about hazards of electro surgical unit and safety measure to be taken.

5.a)	Write about patient Isolation.

b)	What are the measures to be taken for patient electrical safety?

6.a)	Explain programmable pacemakes with a diagram

b)	Write notes on

i) Surgical microscope

ii)  Humidifiers.

7.a)	Explain coulter counter with a neat diagram.

b)	Discuss about spectro photometer.

8.a)	What are hazards in operation room?

b)	Explain microwave diathermy with a diagram.

&&&