Code No.321105

Set No.

1

III-B.Tech. II-Semester Examination April, 2003

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Distinguish between white radiation and characteristic radiation in X-rays.

b)	What are the two types of detectors which are used for X-ray detection? Explain their working.

2.a)	Explain the back projection method used in X-ray image reconstruction. What is the significance of CT number used in computed tomography.

b)	Bring out the differences among the following procedures.

i)	Conventional X-ray radiography	(ii) 	Fluoroscopy

iii)	Angiography				(iv) 	Mammography.

3.a)	Explain the working of ultrasound blood flow meter based on Doppler principle.

b)	Explain the term ‘Tissue characterization with respect to ultrasound. Name few parameters used for this purpose.

4.a)	Name two disease conditions for which M mode echocardiography proves in valuable. Explain the basis of this imaging modality.

b)	Explain the process of generation of ultrasound waves using

i)	Natural crystals	(ii) 	Polarised ferrolectrics.

5.a)	Explain the process of  ‘Phase encoding’ and ‘frequency encoding’ in MRI.

b)	Explain the meaning of TR and TE in the case of MRI and bring out their significance. Explain how the T1 constrast can be enhanced by using a suitable TR.

6.a)	Define the process of ‘Precession’ in MRI.

b)	Explain the following terms with respect to MRI.

i)   Angular momentum	(ii)   Magnetic dipole moment.

7.a)	Describe the principle, construction and working of gamma camera with a neat block diagram.

b)	Explain the basis of digital subtraction angiography. What are the limitations of digital subtraction angiography?

8.a)	Explain the process of ‘Inversion recovery’ in MRI.

b)	Discuss the advantages of gradient echo imaging sequence.

***     ***     ***

Code No.321105

Set No.

2

III-B.Tech. II-Semester Examination April, 2003

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the following terms with reference to MRI.

i)    Angular momentum

ii)   Magnetic dipole moment

b)	Explain the gradient echo pulse sequence and bring out how the rephrasing is carried out in this mode.

2.a)	What is the extra information provided by PET when compared to other radio nuclide methods?

b)	Draw the functional schematic of MRI scanner showing its sub systems. Describe fully the functions of each system.

3.a)	Explain the principle behind the reconstruction of image in single photon emission tomography.

b)	State the principle behind the reconstruction of image in positron emission tomography. Explain the term ‘Random coincidence rate’.

4.a)	Bring out the differences between X-ray and SPECT techniques.

b)	Explain the electronic processing unit used in Gamma camera.

5.a)	With a block diagram explain the working of B scan system in ultrasound. Explain trade off between resolution and depth of penetration in ultrasound scanners.

b)	What is meant by Duplex imaging? Bring out the principle of Doppler colour flow imaging in ultrasound.

6.a)	Discuss in brief about CW Doppler unit.

b)	Explain the working of M mode ultrasound.

7.a)	Explain the process of Compton scattering in X-ray production. Indicate the two major problems caused  by Compton scattering in X-ray radiography.

b)	What are the factors which affect X-ray tube ratings? Explain working of image intensifier with a neat diagram.

8.a)	What are the requirements of mammography which are different from ordinary

X-ray examination?

b)	Explain the filtered back projection method for image reconstruction. What is meant by beam hardening in CT?

***     ***     ***

Code No.321105

Set No.

3

III-B.Tech. II-Semester Examination April, 2003

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain how the X-rays are produced.

b)	Explain in detail about the Image Intensifier with a neat sketch.

2.	How do you reconstruct a CT image using an iterative method.

3.a)	Explain a method to reduce the speckle.

b)	Explain about the Colour Doppler method with a neat sketch.

4.a)	Explain about SPECT with a neat block diagram.

b)	List the advantages of PET over SPECT.

5.a)	Explain the block diagram of NMR machine with a neat sketch.

b)	What are Spin-Spin and Spin-Lattice relaxation times.

6.a)	Explain the block diagram of mammography.

b)	Explain about Receiver Operating Curve (ROC).

7.a)	Explain about Rectilinear Scanner.

b)	Explain a method to image the blood flow.

8.	Write short notes on:

a)	Digital radiography

b)	Ultrasonic Texture

c)	Radio Isotopes for diagnosis

d)	Piezo electric effect.

***     ***     ***

Code No.321105

Set No.

4

III-B.Tech. II-Semester Examination April, 2003

MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the interaction between X-rays and Matter.

b)	Explain the factors that effect attenuation co-efficients.

2.a)	Discuss the possible problems that may be encountered in estimating blood vessel diameter in X-ray Angiography.

b)	Design an experimental protocol to evaluate the accuracy of angiography in determining blood vessels diameter.

3.a)	Explain the working and principle of conventional Tomography.

b)	Explain the Image artifacts that occur during CT scan.

4.a)	Explain the working of Amplitude Mode of ultrasonic diagnostic method with neat diagram.

b)	Explain about the signal and time gain compensation.

5.a)	With help of neat schematic sketch explain the working and principle of pulsed Doppler flow meter.

b)	Write a short note on Deplex imaging.

6.a)	Explain the principle of Positron Emition Tomography (PET). Explain its advantage over (SPECT).

b)	Write a short note on Rectilinear scanner.

7.a)	Explain about the blood flow imaging.

b)	What gradient strength is needed to generate a frequency brand width of 500Hz  over a distance of 1m?

8.a)	Explain the Fourier spectrum of NMR signal.

b)	A static magnetic field in an NMR imaging system has an uniformity of 5kg ± 0.02G. A field gradient of 0.4 G/cm is applied in same direction. What is the difference in spatial frequency when two volumes are placed   1cm apart?

Calculate theoretical limit of the spatial resolution of the system.

***     ***     ***