Code No: 321104

Set No

1

III-B.Tech. II Semester Examination April, 2003

BIOMEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain the noise canceling method to enhance ECG monitoring.

b)	Explain the term A R modeling.

2.a)	Explain a method to detect the Beta and Gamma waves pertaining to neurological

signal processing.

b)	Write a note on adaptive filter.

3.a)	Design a 50Hz noise canceller adaptive filter using LMS algorithm.

b)	Describe three important biomedical applications of LMS algorithm.

4.a)	Explain a method to analyze the rhythm of a human heart.

b)	Describe how the inverse filter is used to process EEG signals.

5.a)	Explain with an algorithm the turning point method of data reduction.

b)	Write a note on ECG pattern recognition.

6.a)	Explain the Prony’s method based on least square estimation and its application in 	the biomedical field.

b)	Write a note on Wiener filter and its use.

7.a)	Explain the process for the detection of spikes and spindles in the case of EEG.

b)	Explain the cardiac electrical activity in a normal human being.

8.	Write short notes on:

a) CORTES

b) ECG acquisition.

@@@@@

Code No: 321104

Set No

2

III-B.Tech. II Semester Examination April, 2003

BIOMEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain the applications of  the adaptive noise canceling method to enhance Fetal 	ECG monitoring.

b)	Write a note on adaptive noise canceler.

2.a)	Explain with algorithm the various methods to detect the QRS complex.

b)	What is an arrhythmia? Discuss different cardiac arrhythmias.

3.a)	Discuss the various ECG pattern recognition methods and its use.

b)	Explain Y-W equation and its application.

4.a)	Explain the analysis of evoked potential using Provy’s method.

b)	Explain the measurement of EEG signal.

5.	With block diagrams, explain how ECG signal is acquired from the human body.  	Analyze the signal to calculate the heart rate.  Also how this signal is 	transmitted?  Explain.

6.a)	Explain the A R modeling of seizure EEG.

b)	Explain inverse filter and its use.

7.a)	Discuss the AZTEC method of data reduction in detail.

b)	Write a note on least square estimation.

8.	Write short notes on:

a) ECG automation

b) Turning point algorithm

@@@@@

Code No: 321104

Set No

3

III-B.Tech.  II Semester Examination April, 2003

BIOMEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	What are the features of EEG signals.

b)	Explain the linear prediction method to estimate the power spectral density of a 	biomedical signal.

2.a)	Explain how non-invasive analysis of EEG seizure is done using the A R 	modeling.

b)	Write a note on ECG pattern recognition.

3.a)	Explain an instrumentation with modern features to analyze an ECG signal.

b)	Write a note on cardiac arrhythmia.

4.a)	Explain in detail the principles of adaptive noise canceling.

b)	Discuss the applications of adaptive noise cancellor.

5.a)	Explain the method of analysis of evoked potentials using Prony’s method.

b)	Write a note on K L Transform.

6.a)	Explain with a block diagram the acquisition of ECG signal.

b)	Write a note on detection of alpha waves.

7.a)	Compare data compression technique with data reduction technique.

b)	Explain the turning point algorithm in detail.

8.	Write short notes on:

a) AZTEC

b) Inverse Filter

c) LMS algorithm

@@@@@

Code No: 321104

Set No

4

III-B.Tech.  II Semester Examination April, 2003

BIOMEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain the auto correlation method to estimate the PSD function associated with 	a bio-medical signal.

b)	Write a note on arrhythmia detection.

2.a)	Explain the 10-20 electrode system of measurement of EEG signal.

b)	Write a note on evoked potential.

3.a)	Explain with a program the QRS detection algorithm.

b)	Write a note on cross correlation method of pattern recognition.

4.a)	Explain the A R method using the adaptive LMS algorithm to monitor the fetal 	heart rate.

b)	Write a note on linear prediction.

5.a)	With suitable equations, explain the original prony’s method.  Mention its 	application.

b)	Write a note on automation ECG analyzer.

6.a)	Explain a suitable method of transmission of acquired ECG signal from the

subject.

b)	Write a note on various data reduction methods and its use.

7.a)	Explain the CORTES algorithm to compress the ECG signal and to analyze.

b)	Write a note on EEG sleep stages.

8.	Write short notes on:

a) K L Transform

b) Least square estimation

c) Signal averaging.

@@@@@