Code No: 321003

Set No

1

III-B.Tech. II Semester Examination April, 2003

PRINCIPLES OF BIO - MEDICAL INSTRUMENTATIONS

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	Explain the terms Resting Potential and Active potential. How are these generated 	in muscles?

2.a)	Explain about the non -electrical systems of the heart.

b)	What are the functions of SA node and AV node?

3.a)	What is a Transducer? Explain its importance in biomedical instrumentation?

b)	What is the necessity of signal conditioning and processing circuits in biomedical

instrumentation?

4.a)	Explain the qualitative requirements of the different blocks of a muscle stimulator.

b)	Explain the various types of stimulating and recording electrodes used in a muscle 	stimulator.

5.a)	Draw the block diagram of an ECG recording system and explain its working.

b)	Give the specifications of an ECG machine.

6.a)	Explain the clinical value of the EEG and also describe the various              characteristics of an abnormal EEG.

b)	Discuss about the type of electrodes used in the measurement of EEG and   also 	different locations of these electrodes on the skull in order to take the EEG.

7.a)	What is pacemaker? Explain its principle of working and types of pace makers.

b)	Describe with the help of a neat diagram the working of a blood flow and blood 	pressure monitor.

8.a)	What is biotelemetry? Discuss the applications of telemetry in ECG.

b)	Explain the principle used in transmission of physiological signals over the telephone lines.

$$$

Code No: 321003

Set No

2

III-B.Tech. II Semester Examination April, 2003

PRINCIPLES OF BIO - MEDICAL INSTRUMENTATIONS

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1a)	What are the different types of muscles? Explain the importance of motor unit in 	the muscular contraction.

b)	What is meant by central nervous system? Explain the different parts of it and their activity.

2.a)	Bring out the salient features of phonocardiography

b)	Explain in detail the origin of different heart sounds.

3.a 	Give a neat classification of various electrodes used for measuring  biopotentials from heart, brain and muscles.

b 	What are the specifications of these electrodes.

4.a)	Draw the block diagram and explain the recording set-up for EMG recording.

b)	Discuss about the use of integrators in EMG.

5.		Write short notes on    (a) Electrodes and leads in ECG.

(b) Einthonen triangle.

6.a)	Explain the working and procedure use of  an EEG machine with the help of  a schematic  block diagram.

b)	Why EEG signals are different in sleeping state than those in awakening state?

c)	List the frequency ranges of various waves of EEG.

7.a)	Compare the merits and demerits of both internal and external pace makers.

b)	Write short notes on blood pressure monitor.

8.a)	Describe in detail the system components of a CT Machine.

b)	Explain the image quality considerations that are to be taken care of in a CT 	  	Machine.

$$$

Code No: 321003

Set No

3

III-B.Tech. II Semester Examination April, 2003

PRINCIPLES OF BIO - MEDICAL INSTRUMENTATIONS

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	What are the different sources of bio-electric potentials in the human body?

b)	With a neat diagram explain how an impulse is transmitted from nerve to muscle.

2.a)	With the help of a neat block diagram explain the principle of operation of heart 		lung machine.

b)	Explain how the ECG wave form helps in assessing the functioning of the heart.

3.a)	What is Bioelectric potential? With a suitable waveform explain the origin of it.

b)	Discuss the problems encountered in measuring Biological Signals.

4.a)	What is bio-feedback instrumentation? Explain how it is used in ECG and EMG.

b)	What are the differences in amplification and bandwidth requirement of amplifiers 	for ECG and EMG?

5.a)	Discuss about the computer analysis of ECG.

b)	With a neat block diagram to explain the operation of an ECG equipment.

6.a)	Explain the working and procedure of use of an EEG machine with the help of a	neat diagram.

b)	Why are EEG signals  different in sleeping state than those in awakening state?

7a)	Write a note on the power sources employed in implantable pacemakers.

b)	With a functional block diagram, explain programmable pacemake.

8.a)	Describe a digital computer along with its biomedical applications.

b)	Describe any one of the biomedical equipment controlled by a microprocessor.

$$$

Code No: 321003

Set No

4

III-B.Tech. II Semester Examination April, 2003

PRINCIPLES OF BIO - MEDICAL INSTRUMENTATIONS

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1a)	Draw the structure of a living cell of our body and explain its constituents.

b)	Discuss the different ways of transport of ions through the cell membrane.

2.	Write notes on any two of the following:

a) Heart Lung Machine.

b) Sources of Bioelectric potentials.

c) Electro physical properties of muscles.

3.a)	What is skin -electrolyte interface? Explain.

b)	With a block diagram explain UV recorder and mention the different types of UV 	recorders.

4.a)	Describe the recording set up used in EMG.

b)	Give the specifications of EMG signal.

5.a)	Give the types of ECG recorders. Discuss any two types of recorders in detail.

b)	What is the needs for intensive-care monitoring system? Discuss the basis and 	essential components present in the cardiac-care unit.

6.a)	With a neat block diagram explain the operation of an 8 – channel EEG system.

b)	Give some important specifications of an EEG machine.

7.a)	What are the different modes of triggering in a Pacemaker?

b)	Explain with a block diagram, the asychromous pacemaker.

8.a)	Explain how microprocessors are useful in biomedical instrumentation and 	diagnostics.

b)	What are the accident prevention methods taken to reduce the electric hazards in 	hospitals? Explain.

$$$