Code No: 311002

Set No.

1

III-B.Tech. I-Semester Supplementary Examinations June 2003

ELECTRONIC EQUIPMENT DESIGN

(Electronics and Instrumentation Engineering)

Time: 3 hours							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Derive the reliability function of a parallel – series system using neural networks.  From the result obtained, obtain the back propagation galient Vs training epoch graph and the density distribution function.

2. 	What are the economic and technical feasibility issues to be considered when one goes for a systematic product design?

3.	What is a LCR bridge? How can L, C and R be measured using a skeleton LCR bridge?

4.a)	Describe a modern laboratory type signal generator.

b)	Explain the technique used to improve its stability.

5. 	Discuss in brief the various rules of noise reduction in the instruments.

6. 	Briefly discuss about Reflections and cross talk problems that affect digital PCB’s.

7. 	Briefly discuss about the following basic processes for Double sided PCB’s

a)	Print –and –Etch process.

b)	Panel –Plating process.

8.a)	Give the design concepts of transformers that are used for audio frequency applications.

b)	Give the magnetic and insulation materials used in the fabrication of audio transformers.

c)	Give the important features of magnetic amplifiers.

***	***	***

Code No: 311002

Set No.

2

III-B.Tech. I-Semester Supplementary Examinations June 2003

ELECTRONIC EQUIPMENT DESIGN

(Electronics and Instrumentation Engineering)

Time: 3 hours							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Briefly explain the theories relating to mortality and dynamic models.

2. 	What are the factors to be taken into account while displays and controls are combined?

3.a)	Discuss the advantages of electronic weighing system over mechanical weighing system.

b)	Explain any two applications of each type.

4.a)	Explain the function of front panel controls of a signal generator.

b)	What are frequency dividers?

5. 	Explain in brief how the environmental conditions affect the instrument’s performance.

6.a)	Explain about Ground and supply line noise related to digital PCB’s.

b)	Write about separate ground conductor and supply lines for analog PCB’s.

7. 	Explain about following basic process for double sided PCB’s:

a)	Pattern plating process.

- Tenting process.

8.a)	What are the special features and important applications of pulse transformers.

b)	Give the circuit set up of magnetic amplifier connected to power source, load circuit and control circuit and explain how the effect of load circuit is eliminated on the control circuit.

***     ***     ***

Code No: 311002

Set No.

3

III-B.Tech. I-Semester Supplementary Examinations June 2003

ELECTRONIC EQUIPMENT DESIGN

(Electronics and Instrumentation Engineering)

Time: 3 hours							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Briefly describe the steps to be followed in the process of product design.

2. 	Discuss in detail the advantages and disadvantages of the use of colour in display design.

3.a)	Explain the working of an electronic counter with a block diagram.

b)	Explain any two applications of electronic counters.

4.a)	Describe the process of scanning an image in facsimile system.

b)	Explain the printing methods used in fax machine.

5. 	Explain with graphs and diagram how thermal fatigue affects the performance of instruments.

6. 	Write about Electromagnetic interference occurs in digital PCB.

7. 	Explain about following pattern transfer onto the screen:

- Direct Method.

b)	Indirect Method.

8.a)	List the magnetic and insulation materials used for (i) Audio transformers  and

(ii) Pulse transformers.

b)	Briefly discuss the tests commonly employed for the performance of audio and pulse transformers.

***     ***     ***

Code No: 311002

Set No.

4

III-B.Tech. I-Semester Supplementary Examinations June 2003

ELECTRONIC EQUIPMENT DESIGN

(Electronics and Instrumentation Engineering )

Time: 3 hours							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a) 	What do you mean by MTTF, MTBF and Mean life.

b) 	Derive the interrelationships between the above terms.

2. 	What are the factors to be taken into consideration while the instruments in the control panel are designed?

3.	What is a frequency meter? Explain the principle of operation of digital frequency meter with the help of necessary figures.

4.a)	Explain the process of communication between two fax machines.

b)	Discuss the methods of modulation and demodulation techniques used in facsimile transmission.

5. 	What is creep? Why does creep occur? How does creep affect the instrument’s performance?

6. 	Explain about signal conductor layout for

- Multistage amplifiers especially with high power out put stage.

b)	Amplifier handling low-level signals.

7. 	Explain the following Immersion plating:

- Tin Immersion plating.

- Immersion plating of Gold and Rising.

8.a)	Explain briefly the design and fabrication of coils used for R.F. applications.

b)	Briefly describe the design concepts of pulse transformers.

c)	Give the important features of magnetic amplifiers.

***     ***     ***