Code No: 311053

OR

III-B.Tech. I-Semester Supplementary Examinations June 2003

ELECTRONIC EQUIPMENT DESIGN

(Electronics and Instrumentation Engineering)

Time: 3 hours							        Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a) 	What do you mean by MTTF, MTBF and Mean life.

b) 	Derive the interrelationships between the above terms.

2. 	What are the factors to be taken into consideration while the instruments in the control panel are designed?

3.	What is a frequency meter? Explain the principle of operation of digital frequency meter with the help of necessary figures.

4.a)	Explain the process of communication between two fax machines.

b)	Discuss the methods of modulation and demodulation techniques used in facsimile transmission.

5. 	What is creep? Why does creep occur? How does creep affect the instrument’s performance?

6. 	Explain about signal conductor layout for

- Multistage amplifiers especially with high power out put stage.

b)	Amplifier handling low-level signals.

7. 	Explain the following Immersion plating:

- Tin Immersion plating.

- Immersion plating of Gold and Rising.

8.a)	Explain briefly the design and fabrication of coils used for R.F. applications.

b)	Briefly describe the design concepts of pulse transformers.

c)	Give the important features of magnetic amplifiers.

***     ***     ***