Code No: 310854

OR

III - B.Tech. I Semester Supplementary Examination, June 2003

PROCESS INSTRUMENTATION

(Chemical Engineering)

Time: 3 hours.							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.	Present the dynamic response of first order type Instruments to

(a) step change   (b) linear change   and  (c) sinusoidal change.

2.	Why lead wires are preferred as connecting wires in thermocouples. Explain.

3.	How many methods are there that use differential pressure for measurement of viscosity.  Explain on such methods that gives continuous indication.

4.a)	What do you understand by the term Temparature correction Factor in progress measurement?

b)	Explain with a neat diagram the working of an inclined the manometer.

5a)		What devices are employed as Pressure standards

b) 	With a neat diagram explain the working of a Diaphragm seal in the measurement of pressure of corrosive liquids.

6.	Describe  the bubbler  system used  for pressure measurement in open vessels, with a neat diagram.

- An orifice meter equipped with flange taps is to be installed to measures the flow rate of crude oil to a cracking unit.  The oil is flowing at 380C through a 10cm pipe.  The maximum flow rate of oil is 80m3/h.  Mercury is used as manometer liquid and glycol is used as sealing liquid in the leads.  Calculate a) the diameter of orifice and b) power loss.

Data:  Density of mercury = 13600 kg/m3

Density of glycol   = 1100  kg/m3

Reading of the manometer = 0.76m

Discharge coefficient = 0.61.

The power loss and b are correlated by equation power loss = mb+c.

It is given that b=0.4, power loss is 0.81 and b=0.6,

Power loss = 0.62.

8.a)	It is required to continuously measure the rate of feeding of coal to a boiler.   Mention the names of a few weighing meters.  Describe the operation of one of them, with a figure.

b)	Write short notes on the following with figures.

(i)  Nutating disk meter	(ii)	Rotary vane meter.

&&&&&