Code No:321002

Set No.

1

# III  B.Tech  II Semester Supplementary . Examination December2002/January 2003

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics & Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

## Note:- 1)  Answer any Five questions

2)  All questions carry equal marks

---

1.a)	Write a short notes on the Multimode graded Index fibres with a figure and a graph.

b)	What is the Numerical Aperture of a optical fibre, explain with the necessary expressions.

c)	Explain about the pulse dispersion in step Index fibres with graphs.

2.a)	Explain the Four-level solid state laser with Energy level diagram.

b)	Explain the Applications of Lasers in Hole Drilling.

3.a)	Write the procedure for the measurement of pressure with a figure and a graph using Reflective Fibre optic sensors.

b)	Show the figure for the basic configuration of a cross-talk fibre sensor.  Explain the procedure of measurement of liquid level with a graph using the cross-talk fibre sensor.

4.a)	What is Interferometric sensing?  Explain the Interferometric method of measurement of length.

b)	Explain the procedure of measurement of voltage using fibre optic sensors with a figure.

5.a)	With a figure explain the procedure of measurement of temperature using a Fibre optic thermometer for medical applications.

b)	Explain the construction details, principle and operation of a Laser Diode with a figure showing the Radiation pattern and construction details.

6.a)	Explain the procedure for the measurement of strain with figures using Microbend optical Fibre sensors.

b)	What is an Avalanche photodiode.  Explain the construction details of the APD with a figure.

7.a)	Explain the Industrial applications of Lasers in Laser cutting with a diagram.

b)	Explain the principle and operation of a Laser Doppler velocity meter with a diagram.  Give its applications.

8.a)	What is a Q-switching?  Explain the techniques for the Q-switching of Lasers.

b)	Explain the Magneto-optic Modulation with a experimental set up and a graph.

******

Set No.

2

Code No:321002

# III  B.Tech  II Semester Supplementary . Examination December2002/January 2003

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics & Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

## Note:- 1)  Answer any Five questions

2)  All questions carry equal marks

---

1.a)	Explain the following with the necessary expressions and diagrams in a optical fibre .

(i)	Light guidance   (ii) Total Internal Reflection (iii) Numerical Aperture.

b)	Explain about the pulse dispersion in step Index fibres with graphs.

2.a)	What is a single Mode Fibre?  Show the dimensions and refractive index profiles of different types of optical fibres.

b)	What is Q-switching?  Explain the various techniques for the Q-switching of Lasers.

3.a)	Explain Mode Locking in Lasers with a graph.

b)	Explain the fabrications and generation of Ruby Laser with figures and graphs.

4.a)	Explain the fabrication and generation of Helium-Neon Laser with figures and graphs.

b)	Explain the Industrial Application of Lasers in Laser Welding.

5.a)	Explain the Interferometric method of measurement of length with a figure.

b)	Explain the procedure of measurement of Temperature using a fiber optic temperature sensor with a figure.

6.a)	What is a Sagnac Effect?  Explain the working of a Fiber-optic Gyroscope with figures.  Give its applications.

b)	Explain the procedure of measurement of current with a figure using a fiber optic sensor.

7.a)	List the Medical Applications of Lasers.

b)	Explain the principle and operation of a Laser Doppler velocity meter with a diagram.  Give its applications.

8.a)	Draw the structure of a PIN diode and explain its features.

b)	What is an Electro-optic effect?  Explain the Electro-optic modulation with the necessary equations, figures and graphs.

*******

Set No.

3

Code No:321002

# III  B.Tech  II Semester Supplementary . Examination December2002/January 2003

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics & Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

## Note:- 1)  Answer any Five questions

2)  All questions carry equal marks

---

1.	Differentiate between a Laser and Optical Fibre.  Explain the term Numerical aperature relevant to optical Fibres.

2.	Discuss the advantages and applications of using optical Fibres in Digital communication systems.

3.	Explain the terms Q-switching and mode locking as applicable to LASERS.

4.	Describe how liquid level and temperature are measured using fibre optic sensors.

5,a)	With a neat sketch.  Explain the operation of a Laser Doppler velocity meter.

b)	What is a Hologram?

6.	Describe some important Bio-medical applications of Lasers.

7.	Explain briefly Electro-optic, magneto-optic and Acousto optic Modulators.

8.	Write short notes on the following;

a)	Fibre optic gyroscope

b)	Types of Lasers

c)	IR sources and Defectors.

**********

Code No:321002

Set No.

4

# III  B.Tech  II Semester Supplementary . Examination December2002/January 2003

OPTO ELECTRONICS AND LASER INSTRUMENTATION

(Electronics & Instrumentation Engineering)

Time: 3 Hours							Max. Marks: 80

## Note:- 1)  Answer any Five questions

2)  All questions carry equal marks

---

1.	Describe the principle of energy transmission through an optical fibre.  Derive an expression for the numerical aperture of an optical fibre and explain the physical significance of the parameter.

2.	Explain the requirement of the population inversion for laser operation.  Show how momentum selectivity, frequency selectivity, and polorisation selectivity are obtained.

3.	Describe the construction and operation of a He-Ne Laser.  Discuss its advantages and disadvantages.

4.	What is principle of operation of a fibre optic temperature sensor using semiconductor absorption?  Explain its working in detail.

5.	Explain what is meant by Sagnac Effect.  Describe the operation of a fibre optic gyroscope.

6.	Explain in detail the working principle of Holographic Interferometry.

7.	Explain the PIN diode structure and operation.  How does the inclusion of the intrinsic region improve its speed?

8.	Write short notes on

a)	Q switching.

b)	GRIN fibre

c)	Moir’e fringes

d)	Magneto optic modulation.

**********