Code No.321153

### OR

# III- B.TECH. II-Semester Supplementary Examination December,2002/January,2003

## BIO-MEDICAL EQUIPMENT

## (Bio-Medical Engineering)

Time: 3 hours								Max. Marks:70

## Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Draw the block schematic of a ECG machine. Explain its operation.

b)	Write a note  on

(i)	pH meter   (ii)	Spectrophotometer

2.a)	With a complete block diagram explain a blood gas analiser.

b)	What are the heart sounds ? How phonocardiograph is used to direct the heart 	sounds.

3.a)	Explain the principle of operation of an R – wave inhibited pacemaker with a neat circuit diagram.

b)	With a neat diagram explain the working of a defibrillator  synchronizer  unit.

4.a)	Explain the working of heart lung machine with a neat schematic diagram.

b)	Write a note on suction  apparatus

5.a)	With a neat circuit diagram explain a microwave diathermy machine.

b)	Write a note on

(i)	Bladder stimulator    (ii)	Nerve stimulator

6.a)	Write a note on electrosurgical units and its safety measure aspects.

b)	Write a note on

(i)	Surgical microscope	(ii)	Operation Theater table.

7.a)	Briefly discuss the different types of ventilators.

b)	Write a note on

(i)	Macroshock and microshock 	(ii)	Ground shock hazards.

8.	Write note on

a)	Ambulatory monitory		(b)	Incubatory

- x-