Code No.320302 Set No. 1

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# INSTRUMENTATION AND CONTROL SYSTEMS

(Common  to Mechanical Engineering, Production Engineering, Mechatronics and Mechanical Manufacturing Engineering)

Time:3 hours							Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	What do you mean by the term calibration? Explain it.

- Explain the following terms:

i) Speed of response	(ii) Sensitivity	    (iii) Dead time       (iv) Dead Zone.

2.a)	With neat sketch explain the compensation method employed in pressure thermometer.

- Give various configuration of bimetallic sensors.

3.a)	Discuss various types of elastic pressure sensing elements used in electrical transducers.

- Describe the application, advantages and limitations of elastic diaphragm gauges.

4.	Enumerate the principle of operation of the following:

- Capacitative level indicator	(b) Ultrasonic level measuring instrument

c)   Magnetic level indicator               (d) Cryogenic fuel level indicator.

5.	Explain how  “a wire mounted normal to probe axis”, type hot wire anemometer is used in flow measurement. Enumerate the principle of operation and its limitations.

6.a)	Deduce an expression relating change in resistance and strain in a strain gauge.

- Compare the working of a servo and digital accelerometers.

- Name the different types of hygrometers used for measuring humidity.

7.a)	Discuss the salient features and applications of electrical strain gauges.

- Explain the different method adopted for the calibration of accelerometers.

- List the various factors that are considered for the selection of metallic strain gauges.

8.a)	Describe the operation of a driver driving an automobile on the road and identify the components, input and output of the human system.

b)	What is a servo mechanism? Explain.

***     ***     ***

Code No.320302 Set No. 2

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# INSTRUMENTATION AND CONTROL SYSTEMS

(Common  to Mechanical Engineering, Production Engineering, Mechatronics and Mechanical Manufacturing Engineering)

Time:3 hours							Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	Explain different measurement systems.

b)	Define the terms (i) Instrumentation	(ii) Measurement.

2.a)	Explain the principle behind the temperature measurement by radiation methods.

- Explain the calibration procedure employed in pyrometer.

3.a)	Distinguish between static pressure and stagnation pressure.

b)	What are the Instruments used for measurement of low pressure and low vacuum pressure.

c)	Explain with neat sketch the principle of working of monometer.

4.a)	Write the principle of operation of a bubbler level indicator.

- With neat sketch explain any one type of ultrasonic fluid level indicator.

5.	With neat sketches explain in detail the functioning of any two flow measuring instruments working on Faraday’s law of induced voltage.

6.a)	Name the different types of strain gauges used.

- How seismic instruments are used for measuring acceleration. Explain in detail.

- What is the importance of humidity control in process industries?

7.a)	What is the need for rosette?

- How dew point temperature is measured.

- Describe the tension measurement using strain gauge with neat diagram.

8.a)	With suitable examples, bring out the advantages of closed loop systems over open loop systems.

b)	Draw a block diagram of the closed loop system considered above. Also explain why negative feedback is invariably preferred in such systems.

***     ***     ***

Code No.320302 Set No. 3

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# INSTRUMENTATION AND CONTROL SYSTEMS

(Common  to Mechanical Engineering, Production Engineering, Mechatronics and Mechanical Manufacturing Engineering)

Time:3 hours							Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	Classify different transducers based on operation with examples.

b)	Compare the following:

- Primary transducers Versus Secondary transducers.

- Active transducers Versus Passive transducers.

2.a)	Give examples of bare method, nobel method and refractory method thermocouples.

b)	What is reference junction compensation? Why it is required for thermocouples?

c)	Mention some advantage of thermocouples over other temperature sensors.

3.a)	Name a few applications of pressure measurement.

b)	What is the difference between atmospheric pressure and absolute pressure.

c)	Illustrate, pressure classification with suitable examples.

4.	Explain in detail with neat sketches.

- Liquid level measurement using capacitative transducer.

- Sight glass level indicator.

5.	With neat sketch describe the principle of operation, construction, advantages and limitations of rotameter.

6.a)	Mention the applications of the strain gauges.

b)	Explain the principle of a hydrometer.

c)	What is a vibrometer?

7.a)	Draw a Wheatstone bridge circuit for the strain measurement.

b)	Describe the working principle and theory of operation of a strain gauge.

c)	Explain the general theory of seismic instruments used for vibration/accelerator measurement.

8.a)	State the advantages of a closed loop system.

b)	A constant water level is to be maintained in a boiler. Suggest a suitable automatic level control system with a block diagram and explain its working.

***     ***     ***

Code No.320302 Set No. 4

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# INSTRUMENTATION AND CONTROL SYSTEMS

(Common  to Mechanical Engineering, Production Engineering, Mechatronics and Mechanical Manufacturing Engineering)

Time:3 hours							Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	What do you mean by instrumentation? Write the objectives of instrumentation.

b)	Draw a block diagram of generalized measurement system. Explain it with a suitable example.

2.a)	What are the different types of materials commonly used in thermisters?

b)	Give the various form of thermisters.

c)	Give and explain the temperature-resistance relation of NTC thermister.

3.a)	With the aid of neat sketch, explain the working principle of dead-weight type tester.

b)	Derive and equation for the differential pressure based on the movement of the liquid in the inclined column only.

4.a)	List out the advantages and limitations of direct method level measurements.

b)	Describe with neat sketch the functioning of any two types of displacer type liquid level measuring instruments.

5.	Enumerate the principle of operation, construction details, advantages and limitations of  “wire mounted parallel to probe axis” type hot wire anemometer.

6.a)	Define gauge factor of a stain gauge.

b)	What are the advantages of piezoelectric type accelerometer?

c)	Why vibrations has to be measured. How vibrations are measured?

d)	What is a psychrometer? Explain the working of a psychrometer with neat sketch.

7.a)	What are load cells? Name the application of load cells.

b)	Describe the working principle of strain gauge bridge with neat sketch. Indicate their arrangements for measurement of torque on a circular shaft.

8.a)	Briefly explain the different types of control systems.

b)	Describe the working of one automatic control system used in practice, outline functional elements of that system.

***     ***     ***