Code No.321105 Set No. 1

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	What do you understand by electromagnetic radiation? Explain.

- Write a brief note on Beam restrictors and grids.

2.a)	Explain any two methods of X-ray imaging techniques.

- Explain short term and long term biological effects.

3.a)	Explain reconstruction methods used  in CT.

- Write a note on 3-D reconstruction.

4.a)	Explain the fundamentals of acoustic propagation.

- Write a brief note on Duplex imaging.

5.a)	Describe image characteristics pertaining to acoustic propagation.

- Write a note on nuclear emission.

6.a)	Explain the characteristics of radio nuclide images.

- What are the biological effects of radio nuclide imaging? Explain.

7.a)	Explain the principle behind NMR spectroscopy.

- Explain the generation and detection of NMR signal.

8.	Write short notes on:

- Data acquisition

- Image subtraction

- Fluoroscopy

***     ***     ***

Code No.321105 Set No. 2

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	Write a note on the following terms:

- Intensity of an X-ray beam.

- Attenuation.

b)	Explain the generation of an X-ray beam.

2.a)	Explain the principle of Xero radiography.

- Explain the Biological effects ionizing radiation.

3.a)	Compare conventional tomography with computed tomography.

- Write a note on DSR.

4.a)	Explain absorption and scattering with respect to acoustic propagation.

b)	Write a note on tissue characterization.

5.a)	Explain Doppler method and duplex method of ultrasonic diagnostic system and its use.

- Write a note on internal radiation.

6.a)	Explain the fundamentals of radioactivity.

- Explain the Fourier spectrum of NMR signal.

7.a)	Explain the characteristics of magnetic resonance images.

- Explain the biological effects of magnetic fields.

8.	Write short notes on:

- NMR receiver

- Mammography

- Angiography.

***     ***     ***

Code No.321105 Set No. 3

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	With respect to X-rays, explain the terms:

- X-ray detector

- X-ray genrator.

b)	Write a brief note on angiography.

2.a)	What are the biological effects of ionizing radiation? Explain.

- Write a note on digital radiography.

3.a)	With a schematic, explain the principle of computed tomography.

- Explain the fundamental aspects of acoustic propagation.

4.a)	With a block diagram, describe the operation of a pulse-echo system.

- What are the biological effects of ultrasound? Explain.

5.a)	What are the fundamentals of radioactivity? Explain.

- Describe the principle and use of SPECT system.

6.a)	Explain the generation and detection of NMR signal.

- Write a note on NMR spectroscopy.

7.a)	With respect to the characteristics of magnetic resonance images, explain the following terms:

- Spatial resolution.

- Image contrast.

b)	Write a note on Spin-Echo imaging.

8.	Write short notes on:

- Fluoroscopy

- ROC

- Blood Flow Imaging.

***     ***     ***

Code No.321105 Set No. 4

# III-B.Tech. II-Semester Supplementary Examination December 2002/January 2003

# MEDICAL IMAGING TECHNIQUES

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

# Answer any Five questions

All questions carry equal Marks

---

1.a)	Write a note on the interactions between X-rays and matter.

- Explain the following terms:

  - Mammography

  - Intensifying Screens.

2.	Explain the following terms, with respect to X-ray image characteristics:

- Spiral Resolution

- Image Noise

- Image contrast

3.	Pertaining to acoustic propagation, explain the following characteristics:

- Ultrasonic Texture

- Speele reduction

- Compensation of phase aberration.

4.a)	Explain with a block schematic, the longitudinal section tomography.

- Write a note on Dosimetry.

5.a)	What are the fundamentals of  NMR? Explain.

- Explain the operation of a NMR Transmitter.

6.a)	Describe gradient echo-imaging.

- What are the safety methods employed during imaging.

7.a)	Explain the principle and use of a PET system.

- Write a note on radiation detector.

8.	Write short notes on:

- Electromagnetic radiation

- X-ray Filters

- 3-D Reconstruction method.

***     ***     ***