Code No.321104 Set No. 1

III-B.Tech. II-Semester Supplementary-Examination December 2002/January 2003

BIO-MEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal Marks

---

1.a)	Discuss how the EIG signals are generated free a human body. Give a model of EEG signals.

b)	Describe the QRS detection methods in detail and compare them.

2.a)	What is the use of Rhythm analysis in cardio logical signal processing. Describe a method of Rhythm analysis.

b)	Explain in detail the Arrhythmina detection algorithm with a neat flow diagram.

3.a)	Develop an algorithm that obtains the fiducial point on the ECG.

b)	The transfer function of a filter used in real-time QRS detection algorithm is

(1-z-6)2

H(z) = 	----------

(1-z-1)2

Determine the frequency of the input signals which are eliminated due to use of the above filter. Assume a sampling rate of 200 samples per second.

4.a)	State the advantages of adaptive filters over other types of filters in signal processing.

b)	Describe an adaptive noise canceling filter using LMS algorithm.

5.a)	Describe the characteristics of a Weiner filter.

b)	Explain with a example the averaging filter to enhance the signal to noise ratio of an ECG signal.

6.a)	Write short notes on Fetal ECG monitoring.

b)	Describe Prony’s method of least squares and its application to Bio-Medical signal processing.

7.a)	With a neat block schematic diagrams explain ECG acquisition and transmissions.

b)	Describe Data reduction algorithm and its application to Bio-Medical signal processing.

8.a)	Describe turning point algorithm with a neat flow chart.

b)	Explain AZTEC algorithm for ECG rhythm analysis.

***     ***     ***

Set No. 2

Code No.321104

III-B.Tech. II-Semester Supplementary-Examination December 2002/January 2003

BIO-MEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal Marks

---

1.	Give the typical sketch of EEG signal and explain how Alpha, Beta and Gama waves are detected. Describe the least square modeling technique.

2.	Describe the characteristics of ECG signals. Explain how ECG pattern recognition is done.

3.	Explain about  the principles of Adaptive Noise canceling. What are the different Noise canceling methods? Explain about each of them.

4.	What are the salient features of Prony’s method of signal processing? How Croked potential is analysed?

5.	Explain about the various Data Radiation Algorithms for Bio-Medical signals, and compare them cortically.

6.	Explain about cardio vascular system. What are the difficulties in signal processing methods?

7.	Write in detail about LMS Adoption Algorithms.

8.	Write notes on any Two:

a) Bio electric potentials

b) EEG signals in sleep stages

c) QRS detection methods.

***     ***     ***

Code No.321104 Set No. 3

III-B.Tech. II-Semester Supplementary-Examination December 2002/January 2003

BIO-MEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal Marks

---

1.	Explain how EEG signals are modeled and linear prediction done? Describe the polynomial modeling technique.

2.	Explain about QRS detection methods of cardiological signals. What are the different arrhythania Detection Algorithms? Explain.

3.	Describe the Adaptive Noise canceling method with LMS Adaption Algorithm. How does this method help in Fetal ECG monitoring?

4.	Explain about Prony’s method of signal analysis based on the least square Estimate. What are the changes brought about, in the method of evaluation.

5.	With the help of a block schematic explain how ECG signals are acquired and transmitted? Describe the different Data Reduction Algorithms.

6.	Compare AZTEC, CORETS and KL transform.

7.	Explain how automated ECG Analysis and Pattern Recognition is done.

8.	Write notes on any TWO:

a) Bio medical potentials

b) ECG acquisition methods

c) Inverse Filtering Techniques for EEG signal.

***     ***     ***

Code No.321104 Set No. 4

III-B.Tech. II-Semester Supplementary-Examination December 2002/January 2003

BIO-MEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time:3 hours								Max.Marks:80

Answer any FIVE questions

All questions carry equal Marks

---

1.	Give typical sketches for EEG signals and their classification. Explain about least squares and polynomial modeling.

2.	Give typical sketches of EEG signals for different stages of sleep and explain the same. Explain about REM sleep.

3.	With the help of  typical sketches, explain about normal and abnormal heart sounds.

4.	How are ECG waves classified? Give typical values for their amplitude and duration. Explain how the analysis of signals is carried out?

5.	How adaptive Noise canceling is done with the LMS adaption algorithm? Explain how Fetal ECG monitoring is done using Noise canceling methods?

6.	Describe the Prony’s method based as heart squares.

7.	Explain about AZTEC, CORTES and KL  Transform methods for ECG signals.

8.	Write notes on any TWO:

a) Y-W equations

b) Data reduction algorithms

c) Computer analysis of ECG signals.

***     ***     ***