Code No.:321102

Set No.

1

III-B.Tech.II Semester Supplementary Examinations, December 2002/January 2003

ADVANCED BIOMEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours  							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	What do you mean by radio nuclide imaging?  Draw and explain a related schematic.

2.	Write a note on (i) Gama camera.  (ii) Rectilinear Scanner.

3.	What do you mean by the following?  Explain, by giving examples:

(i) Air conduction  (ii) Bone conduction.

4.a)	Mention any TWO microphonics and briefly explain the differences between them.

b)	Explain briefly in what ways hearing aids overcome the hearing impairment?

5.a)	Explain briefly as to what are the precautions that need to be taken while choosing the materials for artificial organ.

b)	What is inflamation?

6.	Write and explain the qualitative requirements of Artificial Limb and hands.

7.a)	When is the need for artificial kidney arises?  Explain.

b)	Briefly explain the types of exchangers with regard to artificial kidney.

8.	Explain in detail the difference between pneumatic and electronic larynx.  Draw the respective schematic.

- - -

Code No.:321102

Set No.

2

III-B.Tech.II Semester Supplementary Examinations, December 2002/January 2003

ADVANCED BIOMEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours  							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	List the qualitative requirements for a radioisotope used in medical applications.

b)	Explain in detail the working of a rectilinear scanner and list its applications.

2.a)	Draw the block diagram of an audiometer and explain the significance of each block.

b)	Explain the principle of a hearing aid.

3.a)	Briefly explain the principle of external counter pulsation.

b)	Discuss in detail the IABP equipment.

4.a)	Explain the features of materials used for artificial organs.

b)	Discuss the designing concepts of artificial organs.

5.a)	Compare the advantages and disadvantages of mechanical and tissue valves.

b)	Explain the process of testing the performance of a prosthetic heart valve.

6.	Explain the qualitative requirements of a prosthetic heart valve.

7.a)	Explain any two monitoring circuits in a hemodialysis machine.

b)	Classify dialysers and explain the principle of any one type.

8.	Draw the block diagram of a hemodialysis machine and explain.

- - -

Code No.:321102

Set No.

3

III-B.Tech.II Semester Supplementary Examinations, December 2002/January 2003

ADVANCED BIOMEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours  							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	What are radioisotopes.  Explain.

b)	How radioisotopes are used in Radio nuclide imaging.

2.a)	What is an Audiometer?  Explain.

b)	By drawing a schematic, explain the principle of an Audiometer.

c)	What are the application of an Audiometer.

3.a)	Draw the schematics for the Receivers and Amplifiers used in an Audiometer.

b)	Draw the schematic for an Opthalmascope.

4.a)	Co-relate the process of Inflamation  with the introduction of an artificial organ inside the body.

b)	Explain the working of an pacemaker.

5.a)	What is an Prosthesis and an Orthosis.

b)	Explain the scheme for an Prosthetic heart valve.

6.a)	What is a pulse duplicator.  How it can be used in the testing of prosthetic heart valve.

b)	What is regurgitation process with regard to an heart valve?

7.a)	Give and explain the general scheme of operation of Artificial Kidney.

b)	What do you mean by gas exchangers.  What is their need?

8.a)	Give a schematic diagram of generation of sound highlighting the function of Larynx.

b)	What is artificial speech.  Explain.

- - -

Code No.:321102

Set No.

4

III-B.Tech.II Semester Supplementary Examinations, December 2002/January 2003

ADVANCED BIOMEDICAL EQUIPMENT

(Bio-Medical Engineering)

Time: 3 hours  							        Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain a scheme for a Rectilinear scanner?

b)	What is a Gamma camera.  What is its principle of working (briefly).

2.a)	Drawing a schematic explain the process of Air conduction.

b)	Give a scheme for any hearing aid.

3.a)	Explain at least two types of hearing aids.  Draw proper schematic diagrams?

b)	Draw a schematic of hearing.

4.a)	What should be the ideal nature (characteristics) of materials used for Artificial Organs.

b)	Explain under what condition, the body rejects an artificial organ?

5.a)	What is the difference between mechanical and tissue artificial heart valves.

b)	What are the requirements of materials used for the tissue valve.

6.a)	Write as to what are the advantages and disadvantages of mechanical valves as compared with tissue valves.

b)	Explain an upper artificial limb prosthesis.

7.a)	Explain the scheme of Heamodialysis.

b)	What are the types of Gas exchangers?  Explain.

8.a)	Make a comparative study of Artificial Larynx with that of the natural ones.

b)	Make a analysis of electronic Larynx in comparison with that of Pneumatic one.

- - -