Code No: 421151

OR

IV- B.Tech. II Semester Examination April, 2003

ERGONOMICS

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.a)	List and explain basic Ergonomic requirements for any  product design.

b)	Give important general considerations for the use of visual display units.

2.	What are the requirements a control panel has to satisfy to get a good control 	panel?  Explain.

3.a)	Briefly explain Man-Machine system.

b)	Discuss the operators abilities and limitations with reference to sense organs.

4.a)	Explain different types of Anthropometric data.

b)	Discuss the functions of a control that determine its location, identification and 	design.

5.a)	What is muscular fatigue?  How muscle fatigue manifests in physiological 	responses?

b)	Explain ergonomics of manual wheel-chair propulsion.

6.a)	Discuss wheel chair related accidents and injuries.

b)	Explain how efficiency of a wheel chair is dependent on seat height?

7.	Discuss the anthropometric characteristics to be considered for the design of 	dental chairs.

8.a)	Explain briefly the principle of  control.

b)	Explain how ergonomics helps in correct usage of wheel-chair?

- - -