Code No: 421152

OR

IV- B.Tech. II Semester Examination April, 2003

BIO-MEDICAL SIGNAL PROCESSING

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.	Discuss the detection of ,  and  waves of EEG signals.

2.	For a given EEG signal, show how an AR model can be obtained.  Explain with 	necessary equations.

3.	Distinguish between ECG rhythms and EEG rhythms.  Sketch one example of 	each.

4.	List the different arrhythmias in ECG signals.  Explain any algorithm for 	arrhythmia detection.

5.	Explain how noise is eliminated using Least mean square adaptive algorithm for 	an ECG input signal.

6.	Explain how evoked potential is estimated using Prony’s method.

7.	Explain ECG signal acquisition.  Explain how KL transform is used in ECG data 	compression.

8.	Write notes on:

(i) Modeling of EEG signals.

(ii) ECG pattern recognition.

(iii) S-T segment analysis.

- - -