Code No.: 421453

OR

IV-B.Tech. II-Semester Examination April 2003

INDUSTRIAL ELECTRONICS

(Mechatronics)

Time:3 hours								Max.Marks:70

Answer any FIVE questions

All questions carry equal Marks

---

1.a)	Draw the circuit of Emitter coupled differential amplifier and explain the working 	of it.

b)	Discuss the problem of drift in d.c. amplifiers.

c)	Explain one method to compensate the drift in d.c. amplifiers.

2.a)	Draw the circuit of series voltage regulator and explain its operation.

b)	With neat circuit diagram explain the operation of servo voltage stabilizer.

3.a)	Explain the working of SCR with the help of transistor equivalent circuit and its 	volt-ampere characteristics.

b)	Discuss any two important industrial application of SCR.

4. a)	Explain how SCR can be used in inverter circuits.

b)	Discuss important applications of DIAC and TRIAC.

5. a)	Giving basic set up, explain the principle of Induction heating.

b)	What are the chief merits of Induction heating?

6. a)	Explain the principle of Dielectric heating.

b)	Discuss the thermal losses that occur in Dielectric heating.

7. a)	List the methods of generation of Ultrasonic waves?

b)	Give the applications of Ultrasonic waves.

c)	Classify electronic timers.

8.	Write short notes on any THREE of the following:

a)	Significance of CMRR in differential amplifier.

b)	Monolithic voltage regulators.

c)	Application of SCR in chopper circuits.

d)	Triggering methods of SCR.

e)	Switching mode voltage regulator.

~ ~ ~