Code No: 420255

OR

IV- B.Tech. II Semester Examination April, 2003

H.V.D.C. TRANSMISSION

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.	Compare the HVDC transmission with HVAC transmission with reference to the 	following factors:

(a) Economics  (b) Technical performance  (c) Reliability.

2.a)	Briefly explain the different types of dc links and their relative merits.

b)	Draw a schematic diagram of typical HVDC converter station and describe the 	various components of the station.

3.	Derive an equation for dc voltage across HVDC converter in terms of delay angle 	and over lap angle.

4.	Discuss in detail about the control characteristic of typical HVDC system and 	mention the significance of each portion.

5.	Describe the Individual phase control and equidistant pulse control schemes for 	firing angle control employed in a converter.

6.	Discuss about commutation failure in a HVDC converter and give the reasons for 	commutation failure.

7.	What do you understand by characteristic harmonics in HVDC system.  Using 	fourier analysis obtain an expression for line current in a 12 pulse converter.

8.	Write short notes on any TWO of the following:

(i) Smoothing reactor

(ii) A.C. filters

(iii) H.V.D.C. circuit breakers.

- - -