Code No.420305

Set No.

1

IV-B.Tech. II-Semester Examination April, 2003

NON CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Explain the following:

- Beam and diffuse solar radiation.

- The hour angle.

- The sun’s declination.

- The latitude and longitude.

2.a) 	Classify and describe in brief the solar air heaters.

b)    	Sketch the various solar drier designs.

3.a) 	With neat sketch, explain the suitability of solar dryer for food grains.

b) 	With a neat sketch, explain the working of solar distillation plant.

4.a)	Prove that the maximum power coefficient( Cp )  for a wind mill is 0.593.

b) 	How are the wind mills classified?

5.a)	Briefly explain about solid bio fuels? Also write about their applications?

b)	Explain the process “Photosynthesis”. What are the conditions which are necessary for it?

6.a)	What are hydrothermal resources? Explain.

b)	Write about the vapor dominated system. With the help of a neat diagram explain the working of a vapor-dominated power plant.

7.a)	Explain with neat sketches the various methods of tidal power generation.  What are the limitations of each method?

b)	What are the advantages, limitations and operational difficulties encountered in OTEC plants?

8. 	Briefly explain the working principle of Dam-Atoll model for Ocean Wave Energy conversion with a neat diagram.

***     ***     ***

Code No.420305

Set No.

2

IV-B.Tech. II-Semester Examination April, 2003

NON CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Write short notes on:

- Abbot silver disk pyrheliometer.

- Eppley pyrheliometer.

- Yellott solarimeter.

2.a) 	What are the main applications of a solar drier?

b) 	What are the advantages and disadvantages of focusing type collector over a flat-plate collector?

3.a)	What are the various methods of storing solar energy?

b)	Discuss in detail any two of the solar energy storage methods.

4.a)	Neglecting losses, determine the maximum power that can be extracted by a wind mill from a steady wind of 5 m/s. Assume a wind mill rotor diameter of 25m, with air density 1.2 Kg/m3. Find the pressure decrease across the rotor.

b) 	How do you classify wind mills ? Explain about any one type with neat sketches.

5.a)	How are the biogas plants classified?

b)	Explain the constructional details and working of KVIC digester with the help of a neat diagram.

6.a)	What is meant by petro thermal systems?

b)	With the help of a neat diagram, explain how heat is extracted from hot dry rocks.

7.a)	Draw a neat layout diagram of a typical OTEC plant showing salient features and explain the principle.

b)	Discuss the advantages and limitations of wave energy conversion.

8.	Bring out the advantages of single pool modulated tidal plant compared to unmodulated system.

***     ***     ***

Code No.420305

Set No.

3

IV-B.Tech. II-Semester Examination April, 2003

NON CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Explain the following:

- Solar time	(ii) Solar altitude	(iii) Zenith angle.

b)	Determine the local solar time corresponding to 10.00 am IST on February 8 for a location at 87.5o east longitude.

2.a)	Define collection efficiency of a flat plate collector. What are the parameters on which it depends?

b) 	What are the main measuring instruments used for testing the solar collectors? Describe in brief.

3. 	Write in brief  on the following:

- Limitations of photo-voltaic energy converters.

- Solar energy storage devices.

- Solar ponds.

- Solar heating.

4.a) 	Calculate for two locations the useful power delivered by an aero generator having a rotor diameter of 50m and an efficiency factor of 0.5.  In location-A the wind energy is 6m/s during the year, while in location-B the wind energy is 3m/s during the year. ( power = ½ Cp  A V3 ).

b) 	Write short note on the following:

(i) Savonius rotor	(ii) Darrieus rotor.

5.a)	What are the different phases of anaerobic digestion? Explain.

b)	Write about the bio-chemical processes that occur in anaerobic digestion.

6.a)	Discuss the prospects of geo thermal energy in context to India.

b)	Explain how the space heating is done using geo thermal energy.

7.a)	Explain the operation and advantages of single pool modulated tidal system as compared to unmodulated system.

b)	Discuss  the difficulties and limitations in tapping OTE on a commercial scale.

8.	Discuss the direct and indirect energy conversion systems emphasizing on the advantages and limitations of each.

***     ***     ***

Code No.420305

Set No.

4

IV-B.Tech. II-Semester Examination April, 2003

NON CONVENTIONAL SOURCES OF ENERGY

(Mechanical Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Classify the different solar energy measuring equipments. What is the difference between a pyrheliometer and a pyranometer.

b)	Determine the average value of total radiation on a horizontal surface at a location (latitude 22o13’N, longitude 77o13’E) during the month of March. If constants a and b are given equal to 0.28 and 0.48 respectively and average sunshine hours per day are 10.15.

2. 	Explain the construction of reflectors and the materials used for concentrating collectors.

3.a) 	Write short note on the following:

(i) Solar cooker	(ii) Solar pond.

b) 	Describe a basic type solar still for distillation of salt water in to water.

4. 	Determine the wind mill rotor diameter to operate a centrifugal pump, which will have a discharge of 40,000 litres/day with a total head of 10 m. The pump operates for 10 hours in a day. The rated speed of wind is 6 m/s. The power coefficient is 0.3. Density of air is 1.2 Kg/ m3. Assume transmission efficiency 95%, Pump efficiency as 35%.

5.a)	Write about thermo chemical conversion of biomass.

b)	Write about dome and drum type of bio gas plants. What are the advantages of floating drum plant over fixed dome type of plant.

6.a)	Give a brief account of different arrangements used in geo thermal-fossil (hybrid) plants.

b)	With the help of neat diagram, explain the working of fossil-super heat hybrid system.

7.a)	With neat sketches explain the working of wave energy conversion machines.

b)	Discuss the various important equipment for the establishment of an OTEC system off shore.

8.a)	Why is Carnot cycle not applicable in the estimation of efficiency of thermo-electric generator?

b)	Explain the principle of working of thermo-electric generator.

***     ***     ***