Code No: 420257

OR

IV-B.Tech. II Semester Examination April, 2003

POWER SYSTEM RELIABILITY

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain the concept of continuous and discrete random variables with one 	example for each.

b)	Explain Binomial and Poisson distributions.

2.a)	Explain the failure time distributions of components using bath-tub curve.

b)	Explain the method of calculation of reliability of series systems and parallel 	systems.

3.a)	Explain the concept of cut-sets and tie-sets.

b)	Calculate the reliability of the bridge network using the minimal cutsets.

4.a)	Explain the state space method of system reliability evaluation.

b)	Explain two state Morkov process for the calculation of steady state probabilities.

5.a)	Explain frequency and duration method.

b)	A generation system consists of two units of capacities 20 MW and 30 MW with 	forced outage rates 0.1 and 0.05/day respectively.  If the mean time to repair of 	either unit is 20 days, calculate the probability and frequency of failure of the 	system if it has to deliver a steady load of 25 MW.

6.a)	Explain loss of load probability and loss of energy probability.

b)	What is a margin state?  How the frequency of occurrence of a cumulative margin 	state is calculated?

Contd……2

Code No:420257				-2-				OR

7.a)	What are the assumptions made in interconnected systems?

b)	Give the state space diagram of two interconnected systems with limited tie-line 	capacity.

8.a)	Give the state space diagram of two components A and B with switching after 	faults.

b)	Explain the weighted average rate model.

- - -