Code No.420208

Set No.

1

IV-B.Tech. II-Semester Examination April, 2003

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	What are the modes of operation of a power system and briefly explain them?

b)	List out the various constraints that are involved on basic cost minimization.

2.	What is meant by SCADA? Explain in detail the data acquisition.

3.	Explain the following disturbance data collection function on SCADA system.

a)	Sequence of event recording.

b)	P.M.R

4.	Explain about the operator’s console with

a)	Subdivision on to system parts

b)	Console security and

c)	Audiable alarms.

5.	Explain in detail regarding the operators dialogs and mimic diagram functions.

6.	Discuss the software considerations from the point of the performance of modern control system.

7.	Explain the following:

a)	Security management

b)	System security.

8.	How is the simulation role used as a technique on the system analysis and design?

***     ***     ***

Code No.420208

Set No.

2

IV-B.Tech. II-Semester Examination April, 2003

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Discuss different modes of operation of power systems.

b)	What are the main constraints that are involved in cost minimization?

2.	Explain the data acquisition process by the control centres.

3.	Mention in detail about the important control functions related to power system operation.

4.	Discuss about the distrubance data collection functions and post mortem review.

5.	Write short note on the following:

a)	Operators console.

b)	Console security and assignment.

6.	Give brief account on various control aspects of power system from the control centre point of view.

7.	Discuss the software considerations from the point of the performance of the modern control system.

8.	How is the simulation role used as a technique on the system analysis and design?

***     ***     ***

Code No. 420208

Set No

3

IV-B.Tech. II Semester Examination April, 2003

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.	Explain the different modes of operation of power system and write about the 	variety of constraints that are involved in cost minimization.

2.	Write about the various methods of data acquisition for the data collection in 	power system network.

3.	Explain about the functions to prevent the disturbances on the power system.

4.	Explain in detail regarding the operation console.

5.	Explain about the role of operator’s console.

6.	Explain in detail about the role of operators dialog in man-machine 	communication system.

7.	Describe the network modeling in a computerized supervisory control.

8.a)	Explain about the software considerations in the performance of modern control 	system.

b)	Write a short note on SCADA.

- - -

Code No. 420208

Set No.

4

IV-B.Tech II-Semester Examination April, 2003

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 80

Answer any five questions

All questions carry equal marks

---

- Explain about the characteristics of the operations of power system.

- Explain in detail the four modes of states of power systems.

- What are the factors that influencing the control centre of the power system?

- What are the different groups of operator activities?  Explain in detail.

- Explain with neat diagram the conceptual over view of disturbance data collection function.

- What is meant by “The operators console”? What are different sub systems on power system.  Why is the console security and assignment required?

7.a)       Explain about operators dialogs?

b)       Write short note on ‘Mimic diagrams’ functions?

8.	        How is the simulation role used as a method on the system analysis and

design?

-----