Code No: 421103

Set No

1

IV-B.Tech. II Semester Examinations April, 2003

HOSPITAL SYSTEMS MANAGEMENT

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain about different services in primary health care centre.

b)	Explain about different para medical services in a major teaching hospital.

2.a)	Explain the need for air conditioning in a hospital and write about different air conditioners.

b)	How do you choose the capacity of the generator to instal in a multi speciality Hospital.

3.	Describe the Hospital information system.

4.a)	How do you protect Electro Surgical Unit from the electrical disturbances.

b)	Explain about ground fault circuit interrupter.

5.a)	Explain about the preventive maintenance procedure.

b)	Explain about the procedure to condemn the equipment in a Teaching hospital.

6.	Explain the role of Biomedical Engineer in a Research and Development Unit of an industry.

7.	Explain about various requirements of Hospital Illumination.

8.	Write short notes on:

a) Biological Hazards in a Hospital.

b) Use of computers in Hospitals.

@@@@@

Code No: 421103

Set No

2

IV-B.Tech. II Semester Examinations April, 2003

HOSPITAL SYSTEMS MANAGEMENT

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain about various medical equipment used in operation theatres.

b)	Explain about different outpatient services provided in a Teaching hospital.

2.a)	Explain about the communication procedures within the hospital.

b)	Explain about the management of water supplies.

3.a)	Explain about computerized medical records management.

b)	Explain about the utilization of computers in pharmacy department.

4.	Explain about different methods to protect the ECG recorder from electrical disturbances.

5.a)	Explain about the procedure of purchasing the Medical Equipment.

b)	Explain the procedure of troubleshooting in a major hospital.

6.	Explain how the computerization of hospital services improves the efficiency of the hospital.

7.	Explain the factors to be considered in budgeting the Biomedical Engineering Department.

8.	Write short notes on:

a) Location of the Hospital.

b) Protection from grounding.

@@@@@

Code No: 421103

Set No

3

IV-B.Tech. II Semester Examinations April, 2003

HOSPITAL SYSTEMS MANAGEMENT

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain about different Emergency Services provided in a multispeciality hospital.

b)	Explain about the functioning of a Diet  Department in a major hospital.

2.a)	Explain about the factors to be considered in designing the hospital layout.

b)	Explain about different fire fighting units that can be used in a major hospital.

3.	Explain about the significance of computer aided hospital management.

4.a)	Explain the need for UPS in ICCU and CCU.

b)	Explain the principle and working of UPS.

5.	Explain the role of Biomedical Engineer in a Teaching and research hospital.

6.	Explain about the recruitment procedure of Hospital personnel.

7.a)	Explain about different paramedical services provided in a major hospital.

b)	Explain the role of computers in Medical Diagnostics.

8.	Write short notes on:

a) Inventory of Hospital Equipment.

b) Safety systems in Electrical Designs.

@@@@@

Code No: 421103

Set No

4

IV-B.Tech. II Semester Examinations April, 2003

HOSPITAL SYSTEMS MANAGEMENT

(Bio-Medical Engineering)

Time: 3 Hours							Max. Marks: 80

Answer any Five questions

All questions carry equal marks

---

1.a)	Explain about different services  provided in a General Hospital.

b)	Explain about technical services in a major Teaching and Research Hospital.

2.a)	How do you choose the site for a multispeciality hospital.

b)	Explain the budgeting mechanism for a year for a 100 bedded hospital.

3.a)	Explain about computerized patient billing mechanism in detail.

b)	Explain about the utility of computers in Biomedical Engineering department in a major hospital.

4.	Design a electrical power distribution system for a 500 bedded major hospital.

5.a)	Explain the procedure for providing training to the operators of Medical Equipment.

b)	How do you evaluate the performance of a Biomedical Technician.

6.	Explain the role of a Teaching and Research Hospital in Community Development.

7.	Write about various hazards in a Hospital and give the precautions to avoid the hazards.

8.	Write short notes on:

a) Preventive maintenance procedure.

b) Transport services in the hospital.

@@@@@