Code No.: 421053

# IV B.Tech II-Semester Examinations April 2003

OR

# industrial instrumentation

(Electronics and Instrumentation Engineering)

## Time: 3 Hours  							Max. Marks: 70

# Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Describe any one method of measuring angle with a neat sketch.

b)	Explain the principle of measuring area, with neat diagram.

2.a)	Explain the working of AC Tachogenerator. Enumerate the advantages over DC Tachogenerator.

b)	Describe the construction and working of piezoelectric type accelerometer with a neat diagram.

3.a)	Explain the measurement of speed using reluctance pickup with a neat diagram.

b)	What is Stroboscope? Explain its working. What are the possible errors that can occur when speed is measured?

4.a)	Describe in detail the elastic transducers used for force measurement.

b)	Explain the technique followed in the online shaft torque measurement using strain gauge.

5.a)	Define vibration. How is it characterized and list some of its harmful effects. Explain any one method of measuring vibration.

b)	What are Lissajon patterns? How are they obtained? How are they used for measurement of frequency?

6.a)	Define viscosity. Describe any one method of measuring viscosity.

b)	Explain the principle and working of air pressure balance method of measuring density with a neat diagram.

7.a)	Describe the working principle of industrial consistency meter.

b)	What is Psychometer? Where does it find application? How does it differ from hygrometer? Explain any one Psychometer in detail.

8.a)	Describe the constructional features of dew point apparatus and its working.

b)	Write short notes on moisture measurement in paper industry and describe chemical reaction method of measuring moisture.

^^^