Code No.: 421101

Set No.

1

IV-B.Tech. II-Semester Examinations April, 2003

BIO-MATERIALS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Discuss the problems encountered in designing metallic implants.

b)	Explain the features of any two alloys used as biomaterials.

2.a)	Explain the process of polymer degradation.

b)	Compare the mechanical properties of materials used for sutures and tissue adhesives.

3.a)	What are porous ceramics? What are they used for?

b)	Explain the application of Anger electron spectroscopy in the analysis of ceramics

4.a)	Explain the technique of bone growth with electrical stimulation.

b)	Describe the tissue reactions due to the usage of polymeric biomaterials.

5.a)	Discuss the necessity and properties of non-thrombogenic surfaces.

b)	Describe the features of vascular implants.

6.a)	Explain the principle involved in functional neuromuscular stimulation.

b)	Explain any one prosthesis based on functional neuromuscular stimulation.

7.a)	What are the design criteria for the permanent joint replacements.

b)	What are the problems associated with artificial joints?

8.	Write short notes on any two:

a)	Soft tissue implants.

b)	transcuntaneous implants.

c)	Biocompatibility.

^^^

Code No.: 421101

Set No.

2

IV-B.Tech. II-Semester Examinations April, 2003

BIO-MATERIALS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Classify the biomaterials and explain the functions of each type.

b)	Give the ideal characteristics of a biomaterial.

2.a)	Explain the terms surface energy, contact angle and critical surface tension and state their significance.

b)	Explain corrosion process in metallic implants.

3.	Discuss the features of any four metals/alloys used as biomaterials.

4.a)	Explain the suitable features of PHEMA and PMMA.

b)	List any eight medical applications of polymers.

5.a)	Explain the biomedical applications of inert crystallic ceramics and porous ceramics.

b)	Discuss the infrared Reflection Spectroscopy as a technique to analyse the composition of glass.

6.a)	Explain the process of bone healing.

b)	Discuss the tissue reactions to metals and polymers when used as biomaterials.

7.	Discuss in detail the factors which influence biocompatibility.

8.	Write short notes on any two:

a)	Transcutaneous implants.

b)	Dental implants.

c)	Soft tissue implants.

^^^

Code No.: 421101

Set No.

3

IV-B.Tech. II-Semester Examinations April, 2003

BIO-MATERIALS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.a)	Compare the performance of various metals used as biomaterials.

b)	Enumerate the applications of metals as biomaterials.

2.a)	Discuss the advantages of polymeric biomaterials over metallic or ceramic ones.

b)	Explain the materials used in drug delivery system.

3.a)	Describe the mechanical properties of membrane used in oxygenators and dialysers.

b)	Explain the use of carbon in medical applications.

4.a)	Discuss the properties of surface-active ceramics.

b)	Explain the technique of fracture healing in bone.

5.a)	What are the common reasons for failure of implants.

b)	What are the desirable features in the material to overcome the above failures?

6.	Justify the use of ceramics as biomaterials.

7.a)	Explain the various techniques of implant testing.

b)	What are vascular implants? Write about their characteristics.

8.	Write short notes on any two:

a)	Prosthesis for the handicapped.

b)	Dental implants.

c)	Problems encountered in artificial joints.

^^^

Code No.: 421101

Set No.

4

IV-B.Tech. II-Semester Examinations April, 2003

BIO-MATERIALS

(Bio-Medical Engineering)

Time: 3 hours							Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks

---

1.	Discuss in detail the various orthopedic fixation devices and the problems encountered by them.

2.a)	What are the main reasons for the failure of joint replacements. Explain?

b)	What are the desirable features of an ideal bone cement?

3.a)	How are alveolar bone replacements done?

b)	Explain about biocompatibility.

4.a)	Discuss any two prosthesis for the handicapped.

b)	Describe the principle involved in functional neuromuscular stimulation.

5.a) 	Explain the different approaches in the testing of implants.

b)	How is thrombosis avoided in vascular implants?

6.a)	Describe the mechanical properties of ceramics which make them suitable as a biomaterial.

b)	Discuss the biomedical applications of ceramics.

7.a)	Explain the stages of healing of soft tissue wounds.

b)	Explain the characteristics and applications of hydrogels.

8.	Write short notes on any two:

a)	Failure of metallic implants.

b)	Biomedical uses of polymers.

c)	Classification of biomaterials.

^^^