Code No.: 420208

Set No.

1

IV B.Tech. II-Semester Supplementary Examinations July-2003

REAL TIME CONTROL POWER SYSTEMS

(Electrical and Electronics Engineering)

Time:  3hours							Max.Marks:80

Answer any Five questions

All questions carry equal marks.

---

1.	Explain with neat diagram the conceptual overview of disturbance data collection function.

2.	Write about various methods of data acquisition of the Power system?

3.	Explain the different modes of operation of power system and write about the variety of constraints that are involved in cost minimization?

4.	Write about the various methods of data acquisition?

5.	Explain in detail regarding the operators console.

6.	Discuss about the role of operators dialog on man-machine communication

7.	Write short notes on the following:

a)	Operators console

b)	Console security and assignment.

8.	Give a brief account on various control aspects of Power System from control centre point of view.

###

Code No. 420208

Set No.

2

IV B.Tech. II-Semester Supplementary Examinations July-2003

REAL TIME CONTROL POWER SYSTEMS

(Electrical and Electronics Engineering)

Time:  3hours							Max.Marks:80

Answer any Five questions

All questions carry equal marks.

---

1.	What are the main constraints involved in cost minimization.

2.	Explain the data acquisition process by the Control Centre.

3.	Discuss in detail the important control functions related to Power system operation.

4.	Explain about the data collection functions to prevent the disturbances on the Power System.

5.	Explain about the role of the operators console.

6.	Explain about the role of operators dialog in man machine communication system.

7.	Explain about the various considerations in the performance of modern control system for development of software.

8.	Explain about the simulation with neat diagrams.

###

Set No.

3

Code No: 420208

IV-B.Tech. II-Semester Supplementary Examinations July 2003.

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks:80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Explain about the characteristics of the operation of power systems.

2.	Explain about the four modes or states of a power system.

3.	What are the factors influencing the controlled centre of the power system operation.

4.	What are the different groups of operator activities?

5.	What is meant by SCADA? What are their control functions?

6.	Explain in detail the limit value monitoring with sketches.

7.	Explain about the operators console with

a)	Subdivision in to system states

b)	Console security

c)	Auidiable alarams.

8.	Discuss the software considerations from the point of view of the performance of modern control systems.

$$$

Code No: 420208

Set No.

4

IV-B.Tech. II-Semester Supplementary Examinations July 2003.

REAL TIME CONTROL OF POWER SYSTEMS

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks:80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	What are the modes of operation of power systems and briefly explain them?

2.	List the veriety of constraints that are involved on basic cost minimization.

3.	What is meant by SCADA ? Explain in detail the data acquisition.

- Explain the following disturbance data collection function on SCADA system.

    - Sequence of event recording

    - P.M.R

5.	Explain the following.

- Security management.

- System security.

6.	How the simulation role is used a Technique on the system analysis and design.

7.	Explain in detail regarding the operators dialogs and Mimic diagram functions?

8.	Explain the software considerations in the system performance of modern control system.

$$$