Code No: 421002

Set No.

1

IV-B.Tech. II-Semester Supplementary Examinations July 2003.

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks:80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Define the terms “Telemetry” and Telecontrol? Explain the significance and principle of Telemetry and Telecontrol in an Instrumentation system.

2.	Explain the land line telematering system. Describe the torque balance telemetering system.

3.	Describe the salient feature of AM and FM telemetry. Compare and contrast them.

4.	Describe the pulse code Modulation telemetry system. In a PCM system, a 5 bit encoder is used. Suppose each level represents IV, what is the range of encoder?

5.	What are the different sources of light used in optical fibre telemetry system? Explain. Compare their advantages and disadvantages.

6.	Explain the significance of information theory in Telecontrol.

7.	Draw the sketch of voltage and current telemetry schemes. Compare their advantages and disadvantages. How is voltage converted to current for use in telemetering system? Explain with suitable diagram and analysis.

8.	Write short notes on:

a)	Telemetry standards.

b)	Telecontrol apparatus.

$$$

Code No: 421002

Set No.

2

IV-B.Tech. II-Semester Supplementary Examinations July 2003.

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max. Marks:80

Answer any FIVE questions

All questions carry equal marks

- - -

1.	Draw the sketch of a pneumatic telemetering system. What types of data can be telemetered by such a system? How is a fluid line characterized? What is the important parameter in such a system?

2.	Give the classification of land line telemetry systems. Draw the sketch and explain any two of them.

3.	Explain the purpose of multiplexing and demultiplexing in the telemetry system. Draw the required figures.

4.	Describe in detail a radio line system used for telemetry

5.	Where are connectors used in an optical fibre telemetry system? What are the basic mismatch conditions that may develop with these connectors? Explain with diagrams.

6.	Explain the significance and role of telecontrol in any one practical application.

7.	Describe in detail the different digital coding methods used in Radio Telemetry.

8.	Write short notes on:

a)	Telecontrol using information theory.

b)	Examples of a landline telemetry system (any two).

$$$

Code No: 421002.

Set No.

3

IV-B.Tech. II-Semester Supplementary Examination, July 2003

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering)

Time: 3 hours							        Max. Marks: 80

Answer any Five questions

All questions carry equal marks

1.	Describe the different methods of data transmission.	Explain the block diagram of a general telemetry system.

2.	Explain the land line telemetering system using a synchro transmitter receiver 	pair used in torque transmission mode.

3.	Describe the method of amplitude modulation as applied to telemetry. Derive the 	expressions for modulation index, the power conveyed by the carrier and the 	power transmitted by upper and lower frequency bands. Find the condition for 	maximum power in the AM wave.

4.	Describe in detail the Pulse Amplitude Modulation system as used for telemetry.

5.	Explain the operation of any two optical detectors used in optical telemetry.

6.	Explain the Analog and Digital techniques used in Telecontrol.

7.	Sketch a complete frequency Telemetry scheme including the details in the 	transmitting and receiving sides. What are the problems faced with the 	transmitting channel?

8.	Write short notes on:

a)	Pneumatic Telemetry.

b)	Sources for optical telemetry.

~ ~ ~ ~

Code No: 421002.

Set No.

4

IV-B.Tech. II-Semester Supplementary Examination, July 2003

TELEMETRY AND TELECONTROL

(Common to Electronics and Instrumentation Engineering, Electronics and Control Engineering)

Time: 3 hours							        Max. Marks: 80

Answer any Five questions

All questions carry equal marks

1.	Draw the schematic block diagram of a telemetry system identifying different 	parts in it. Why and how the signal is required to be processed or conditioned 	before transmission by such a system?

2.	Explain the frequency telemetering and pulse telemetering systems used for 	digital telemetry.

3.	Explain in detail the transmitting and receiving techniques used in Radio 	telemetry, with neat sketches.

4.	Explain the principle and working of coding and decoding equipment used in 	Radio Telemetry.

5.	Explain in detail and example of an optical telemetry system.

6.	Explain the function of different apparatus used in Telecontrol. Discuss about 	Remote adjustment, Guidance and Regulation in Telecontrol.

7.	Explain in detail the different methods in Electrical Telemetry used for land line 	systems. Draw the required figures.

8.	Write short notes on:

- Trends in fiber optic device development.

- FSK-Delta modulation for Radio Telemetry.

~ ~ ~ ~