Code No: 421052

OR

IV-B.Tech. II-Semester Supplementary Examinations July, 2003

Principles of Bio-Medical Instrumentation

(Electronics and Instrumentation Engineering)

Time: 3 hours						               Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	With neat sketches explain the genesis of bioelectric potential.

b)	Discuss the electrophysiology of a nerve.

2.a)	With relevant sketches explain how impulses are transmitted from nerve to muscle.

b)	With a neat block diagram explain the heart lung machine.

3.a)	Discuss any two signal conditioning circuits used in Medical recording systems.

b)	Discuss the different clinical electrodes used according to their construction and application.

4.a)	Explain how signals are recorded from the muscles when an electrical stimulus is given.

b)	Write a note on strength duration curves.

5.a)	Explain the origin of ECG signal.

b)	Explain the vector cardiography used for recording ECG signals.

6.a)	With a neat block diagram explain the EEG machine.

b)	Explain the important features of EEG signals and discuss about their abnormalities.

7.a)	What is fibrillation.  Explain any one type of defibrillator.

b)	With a neat block diagram explain the arrhythmia monitor.

8.a)	Discuss the role of microprocessors in Medical diagnosis.

b)	Write a note on patient safety.

@@@@@