Code No. 421053

OR

IV-B.Tech- II Semester Supplementary Examinations July 2003

INDUSTRIAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1. a)	Sketch and explain the working of a polar planimeter for the measurement of irregular diagrams.  What is zero circle and what is its significance in a planimeter?

b)	What are sine bons and how are they used for angular measurements?

2. a)	Discuss in detail the applications of componators.

b)	Describe with a neat diagram any one method of length measurement.

3. a)	Name the different mechanical tachometers.  Sketch and explain the working of any one type.

b)	List the different analog instruments for the measurement of angular velocity sketch and explain the working of any one type.

4. a)	Describe the basic concept of the Seismic instrument.  Under what conditions is a seismic instrument suitable for

(i) Displacement measurement and	(ii) Acceleration measurements.

b)	How will you use an elastic transducer to measure force?  Give two different configurations for such measurement and write down the relationship between the force and resulting deformation.

5. a)	What are the industrial needs which make viscosity determinations desirable?  Classify the viscosity measuring Instruments according to their principle of operation and explain any one in detail.

b)	Write short notes on ‘Consistency measurements’.

6. a)	Define dew point and describe a technique for its measurement in laboratory and in industry.

b)	Explain the method of measuring moisture level in paper.

7. a)	Explain the following with a neat sketch.

(i) Torque tube	(ii) Psychrometer.

b)	Explain the principle and working of Strain gauge load cell method of measuring density with a neat diagram.

8. a)	Describe any one method of measuring Frequency with a neat diagram.

b)	Explain the measurement of torque using optical and electrical methods.

###