Code No: 410352

OR

IV - B.Tech. I Semester Supplementary Examination, May 2003

MECHANICAL MEASUREMENTS & CONTROL SYSTEMS

(common to Mechanical Engineering, Production Engineering,Mechanical Manufacturing and Mechatronics)

Time: 3 hours.							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1.a)	What is meant by dynamic accuracy of an Instrument?  Discuss.

b)	Name the sources of errors in the instruments and how to eliminate them.

2.a)	What is a transducer?  Give the classification of primary detector-transducer elements with some examples.

b)	Explain the working of linearly variable differential transformer (LVDT)	and discuss its application.

3.a)	How are low pressures measured?  Describe the working of a McLeod gage with a sketch (linear scale type).

b)	Describe the operation of a diaphragm pressure gage using electrical resistance strain gage.

4.a)	Explain the principle of capacitive transducers and describe a device to measure the level of liquid hydrogen.

b)	What is pyrometer?  Explain the working principle of an optical pyrometer with neat sketch?

5.a)	How Hot-wire anemometer is used for measurement of temperature and flow rate of a fluid?  Sketch and explain.

b)	What are pitot tubes?  How many types are in use?  Describe any one of them.

6.a)	Discuss the effect of mass of an accelerometer on the resonant frequency of the structure on which it is  mounted?

b)	Vibrometer is a low frequency instrument.  Discuss its characteristics.

7.a)	What are electrical resistance strain gages?  Derive an expression for the gage factor F?

b)	A resistance strain gage having R=120, GF=2.0 is placed in an equal arm bridge in which each resistances is 120 .  The bridge is excited by a d.c. source of 4.0 volts.  Assuming that the  galvanometer  has a resistance of 100.  Calculate the detector current in microamperes per μm/m of strain.

8.a)	How are control systems classified?  Discuss the advantages and disadvantages of each them.

b)	Explain the concept of open and closed control systems.  Give Examples.

&&&&&