Code No.410304

Set No.

1

IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Power Plant Engineering

(Mechanical Engineering)

Time: 3 Hours							       Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	What is a stoker? What are the different types of strokers?

b)	Explain the operation of a traveling grate stoker with the help of neat sketch.

2.a)	What are the conditions to be satisfied by pulverized coal burners? What are      the different types of pulverized coal burners?

b)	Discuss the different arrangements of burners in a pulverized coal fired Furnace?

3.a)	Explain with the help of a block diagram the fuel storage and supply system of diesel power plant

b)	Explain with the help of a block diagram the water cooling system of diesel power plant.

4.a)	Write short notes on

i) Aluminium – Air cell	ii) Solid oxide electrolyte cell

b)	Explain the advantages of fuel cells

5.a)	Depending on the head at which water is available, how the power plants are classified?

b)    What do you understand by water hammer and what are its effects on the power plant?

6.	What is wind energy? How wind energy can be tapped? What constitute the wind mill cum generator?

7.	What is a breeder reactor

What factors control breeding?

What is the function of a fast breeder reactor?

What are the advantages of breeding in the Indian context?

8.a)	Explain

i) Load factor 		b) Demand factor

b)	A power station has to supply load as follows :

| Time (Hr) | 0-6 | 6-12 | 12-14 | 14-18 | 18-24 |
| --- | --- | --- | --- | --- | --- |
| Load (mW) | 30 | 90 | 60 | 100 | 50 |

i)   Draw the load curve		ii) Draw load duration curve

iii) Choose suitable generating units to supply the load.

iv)  Calculate load factor 		v) Calculate plant capacity

@@@@@

Code No.410304

Set No.

2

IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Power Plant Engineering

(Mechanical Engineering)

Time: 3 Hours							       Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.	Explain the principle and operation of a spreader stroker with the help of a neat      sketch.

2.	Explain the function of hot primary air and secondary air with a neat diagram?

3.a)	Write short notes on the following:

i) Starting system of diesel power plant

ii) Part load performance of  diesel power plant

b)	Explain with the help of a block diagram the lubrication system of diesel power plant

4.a)	With  neat sketches explain the centrifugal and axial flow compressors used in gas turbine power plants

b)	Give the advantages and disadvantages of closed cycle gas turbine power plant

5.	Explain in detail the primary and secondary investigations for selection of a hydro electric power plant.

6.	What are the various factors to be considered in the selection and location of a wind mill?

7.	List the various types of nuclear reactors

Draw a neat sketch showing various components of a nuclear reactor.

Explain in detail the constructional features of a nuclear reactor

8.a)	Define "connected load " , "Max. Demand" Demand factor and load factor

b)	A power station supplies the following loads to the customers.

| Time (Hr) | 0-6 | 6-10 | 10-12 | 12-16 | 16-20 | 20-22 | 22-24 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Load (mw) | 20 | 50 | 60 | 40 | 80 | 70 | 40 |

Find (i) The load factor of the plant.

(ii) What is the load factor of a stand by limit of 20mW capacity if it takes up

all loads above 60 mW.

@@@@@

Code No.410304

Set No.

3

IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Power Plant Engineering

(Mechanical Engineering)

Time: 3 Hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	What is a cyclone furnace? Where it is used? Mention its advantages and Disadvantages.

b)	Why is tertiary air required in a cyclone furnace? Where is it admitted?

2.a)	Why are feed water heaters used?

b)	Explain with a sketch the working of a Barometric condenser?

3.a)	Explain the advantages and disadvantages of thermal power plants over other types of power plants

b)	Explain briefly the specific fields of use of diesel power plants.

4.a)	With neat sketches and equations explain the regeneration and reheating methods employed to improve the performance of gas turbine power plant

b)	What is governing of gas turbine power plant? Why it is required?

5.	Explain the various factors to be considerd in the selection of a hydraulic turbine.

6.	What is solar energy? What is a solar collector? Explain briefly the solar collector used for heating a fluid.

7.a)	List the various types of nuclear reactors.

b)  	With a neat sketch, explain the working of a Pressurized Water Reactor.           What are the advantages and disadvantages of this type of reactor?

8.a)	Define "Diversity factor" and state the advantages of the diversity of the load in the power supply system.

b)	The loads on a power plant with respect to time for 24 hours are listed below:

| Time (Hr) | 0-6 | 6-8 | 8-12 | 12-14 | 14-18 | 18-22 | 22-24 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Load (mW) | 40 | 50 | 60 | 50 | 70 | 80 | 40 |

Draw the load curve and find the load factor of the power station. If the loads above 60 mW are taken a stand by unit of 20 mW capacity. Find the load factor of the stand by unit.

@@@@@

Code No.410304

IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Set No.

4

Power Plant Engineering

(Mechanical Engineering)

Time: 3 Hours							      Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	How are pulverizers classified? On what factors does the performance of a Pulverizer depends?

b)	What are the feeding systems of pulverized coal in to the furnace? What are the Two conditions to be satisfied to burn pulverized coal successfully?

2.a)	What is the function of a cooling tower? How does a cooling tower operate?       What is the need to fill a tower?

b)	What do you mean by evaporative cooling?

3.a)	What are the different types of engines used in diesel power plants? Why two stroke engines are more suitable and economical when compared to four stroke engines

b)	Discuss the factors to be considered while selecting the site for diesel power plants

4.a)	Explain the phenomenon of detonation in CI engines.

b)	Explain the factors which influence the detonation

c)	Explain the Morse test and Willan’s line

5.	What are the various factors to be considered in selecting the site for a hydro        electric power plant?

6.	Explain the various methods by which solar energy can be converted in to electric energy.

7.a)	List the various types of nuclear reactors.

b)      With a neat sketch, explain the working of a gas cooled Reactor.

What are the advantages and disadvantages of this type of reactor

8.a)	Define   (i) Demand factor     ii) Maximum demand 	    iii) Connected load

b)	A generating station has a maximum demand of 20 mW, a load factor of 60 % , a plant capacity of 48 % and a plant use factor of 80 %. Find.

i)  The daily energy produced.

ii) The reserve capacity of the plant.

The maximum energy that could be produced daily, if the plant when running were fully loaded.

@@@@@