Code No.411005

Set No.

1

IV-B.Tech I-Semester Supplementary Examination May, 2003

DIGITAL CONTROL SYSTEMS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Obtain the Z-transform of

a)	f1(t)=1a1−e−at where ‘a’ is a constant.

b)	f2(t)=9k2k−1−2k+3k≥0

2.a)  	Draw the block diagram of the linear time invariant discrete control system     representing state space.

b) 	Derive the state space model of discrete control system using direct programming method.

3.a)  	Discuss the lipunov stability analysis of discrete time system and how it is extended for LTI discrete system.

b) 	Determine the stability of the origin of the system given

x1(k+1)

4.	Find C(z) /R(z) for the sampled data closed loopsystem

(Contd…2)

Code No.411005				-2-			Set No.1

5. 	Draw the schematic diagram of a state feedback control system and explain how stability can be improved by state feedback.

6.	Describe the prediction type of Kalman-filter with a neat sketch. Derive the relevant equations to be solved.

7.	Briefly explain the state regulator problems.

8.	Explain the various control configurations:

a)	State regulator

b)	State observer

c)	Servo systems

d)	State feedback with integrated control.

***     ***     ***

Code No.411005

Set No.

2

IV-B.Tech I-Semester Supplementary Examination May, 2003

DIGITAL CONTROL SYSTEMS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Show that

Zkk−1....k−h+1ak−h=h!zz−ah+1

Y(Z)U(Z)=4Z3−12Z2+13Z−7Z−12Z−22.	A discrete time system has the following transfer function

Determine the state model of the system in  (a) phase variable form (b) Jordan canonical form.

3.	Obtain the companion form realization for the following transfer function

a)	G(Z)=3Z2−Z−3Z2+13Z−23

b)	G(Z)=−2Z3+2Z2−Z+2Z3+Z2−3−34

(Contd…2)

Code No.411005				-2-			Set No.2

4. 	A sampled – data controlled system is shown in figure. Show that the output of the system at sampling instants is zero  T =2πnϖs  ,   n positive integer

[Hint G(z) = 0, which indicates that the sampled output of  the system is zero but the continues output is not zero]

5. 		State and explain the necessary and sufficient conditions for arbitrary pole placement.

6.a)	Explain the steady state Kalman filters.

b)	Design a first-order observer for the system

X(k+1) = AX(k)+BY(k) and Y(k) = CX(k)

Where A=01

Design observer for deadbeat response.

7.	Derive an expression for state regulator design through the Lyapunov equation.

8.	Discuss briefly about Discretized Quadratic optimal control problem.

***     ***     ***

Code No.411005

Set No.

3

IV-B.Tech I-Semester Supplementary Examination May, 2003

DIGITAL CONTROL SYSTEMS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Obtain the inverse Z-transform of

a)	F1(z)=z−11−z−11+1.3z−1+0.4z−2

b)	F2(z)=1+6z−2+z−31−z−11−0.2z−1

2. x1(k+1)=x2(k)+0.2x2(k)+0.4 x2(k+1)=0.5x1(k)-0.5	Discuss lipunov stability analysis for discrete time system and determine the stability of the equilibrium state for the system defined by the equations

3.  	Obtain the Jordan canonical form realization for the following transfer function

G(Z)=Z3+8Z2+17Z+8(Z+1)(Z+2)(Z+3)

4.	Find C(z) /R(z) for the sampled data closed loop system of figure given. Assume both the samples to be of impulse type

(Contd…2)

Code No.411005				-2-			Set No.3

5.a)  	What are  the two basic transformations used to convert an analog system transfer to a digital system transfer function?

b) 	Explain the design of digital controllers through bilinear transformation.

6.a)	Discuss briefly Kalman Filtering algorithm and explain the various recursive relations.

b)	With neat block diagram explain the full order observer.

7.	Derive an expression for matrix Biciati equation.

8.	Write notes on linear regulator with a prescribed degree of stability that can be solved by using state regulator results.

***     ***     ***

Code No.411005

Set No.

4

IV-B.Tech I-Semester Supplementary Examination May, 2003

DIGITAL CONTROL SYSTEMS

(Common to Electronics and Instrumentation Engineering and Electronics and Control Engineering)

Time: 3 hours							Max.Marks:80

Answer any FIVE questions

All questions carry equal marks

---

1.	Obtain the inverse Z-transform of

a)	F1(z)=z−10.5−z−11−0.5z−11−0.8z−12

b)	F2(z)=0.368z2+0.478z+0.154z2z−1

2. 	Find the state transition matrix for the given discrete time state equation

x1(k+1)

3. 	Obtain the Jordan canonical form realization for the following transfer function

G(Z)=3Z2−4Z+62−133

4.	For the sampled – data feedback system with a digital network in the feed back path as shown in the figure. Find C(z) /R(z)

5. 	What are PID controllers? Compare its performance over PI controllers or PD controllers.  Explain digital PID controller in detail.

(Contd…2)

Code No.411005				-2-			Set No.4

6.a)	Discuss the necessity of an observer in control systems.

b)	Draw the block diagram of a reduced-order observer and explain the advantages over full-order observer.

7.	Explain the optimal control problem and the solution for the same using Lyapunov function approach.

8.	Explain Liapunov stability analysis of linear time variant systems.

***     ***     ***