Code No.411156

OR

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Rehabilitation Engineering

(Bio-Medical Engineering)

Time: 3 Hours							   Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	Explain how the restoration of hand function and restoration of standing  and walking is done using orthopedic prosthesis.

b)	Write a note on motor rehabilitation.

2.a)	Discuss the principle behind the working of MARCUS intelligent hand prosthesis.

b)	Write a note on Visual system.

3.a)	Explain the working of HAS.

b)	Write a note on Tactual substitution.

4.a)	Explain the concept of cochlear implantation.

b)	Write a note on robotics usage in rehabilitation.

5.a)	Characterize the human systems and subsystems with a diagram.

b)	Write a note on environmental control systems.

6.a)	Explain the term decision making processes in rehabilitation.

b)	Write a detail note on characterizing assist devices.

7.a)	Explain the computer usage in visual perception.

b)	Explain the improvement in orientation and mobility due to the use of computer.

8.	Write short notes on:

a) Measurement Tools

b) Orthotic Knee Joint

c) Interfacing Brain.

@@@@@