Code No. : 410254

OR

IV-B.Tech I-Semester-Supplementary Examinations May 2003

INSTRUMENTATION

(Electrical and Electronics Engineering)

Time: 3 hours							Max. Marks: 70

Answer any Five questions

All questions carry equal marks

---

1. a)	Describe performance characteristics of various transducers.

b)	Describe standard test signals.

2. a)	Write about filtering.

b)	Describe construction and operation of digital phase angle meter.

3. a)	Describe construction and operation of a load cell.

b)	Explain pressure measurement techniques.

4. a)	Explain angular velocity measurement using digital methods.

b)	Explain ultrasonic measurements.

5. a)	Explain the operation of a vector impedance meter.

b)	Describe operation and construction of digital frequency meter.

6. a)	Describe modulation of signals.

b)	What are wave analyzers?  Explain their operation and use.

7. a)	Describe thermo couples and their applications.

b)	Explain about general dynamic performance of instruments.

8. a)	Write a note on Thermistors.

b)	Write a note on compensation.

###