Code No.411003

Set No.

1

IV-B.Tech I-Semester Supplementary Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marsk:80

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write briefly about the Hydrothermal power generation method.

- Explain the PI diagram of Boiler-cogeneration.

2.a)	Draw the building blocks  of a Thermal  Power Plant  and explain about each block.

- Explain the method of smoke density measurement.

3.a)	Write about the details of the Boiler Processes.

- Write short notes on dust monitor.

4.	Write short notes about the following Electrical measurements in Power Plant Instrumentation.

a) Current   (b) Voltage    (c)  Power

5.	Write short notes on

- Combustion control in Boiler

- Control of main header pressure in Boiler.

6.a)	Briefly explain about the hot well and deaerator level control.

- Briefly explain about pulverizer control.

7.a)	Write short notes on condenser vacuum control.

b)	Write short notes on hydrogen purity meter.

8.a)	Explain the method of gland steam exhaust pressure control.

b)	Write short notes on pollution monitoring and control equipment.

********

Code No.411003

Set No.

2

IV-B.Tech I-Semester Supplementary Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marsk:80

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write short notes about the Nuclear power generation method.

b)	What is the importance of instrumentation for power generation, explain?

2.a)	Write briefly about the solar power generation  method.

b)	Write short notes on radiation detectors.

3.	Write short notes about the following electrical measurements in power plant instrumentation.

- Voltage

- Frequency Power factor.

- Current.

4.	Write short notes on:

- Airfuel ratio control in boiler

- Furnace draft and excessive air control in boiler.

5.a)	Explain the use of computers in power plants.

b)	Explain about the spray and gas recirculation controls.

6.	Explain the method of measurement of the following Non-electrical parameters in power plant instrumentation.

a)	Flow of feed water

- Flow of fuel.

7.a)	Write the procedure to control the speed of turbine.

b)	Explain the method of turbine vibration control.

8.a)	Explain about the thermal conductive paramagnetic type oxygen analyzer.

b)	With the help of a figure explain the function of spectrum analyzer.

********

Code No.411003

Set No.

3

IV-B.Tech I-Semester Supplementary Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marsk:80

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write short notes on the wind power generation method.

b)	Draw the building blocks of a thermal power plant and explain about each block.

2.	Write short notes about the following Electrical measurements in  power plant instrumentation.

- Frequency Power factor

- Power

- Trivector meter.

3.a)	Explain the methods of measurement of the flow of air, and steam with correction factors.

b)	What is the importance of Instrumentation for power generation explain?

4.	Write short notes on:

- Airfuel ratio control in Boiler.

- Furnace draft and excessive air control in boiler.

5.a)	Write short notes on radiation detectors.

b)	Explain about the B.F.P recirculation control.

6.	Write short notes on:

- Drum level (three element control) main and reheat steam temperature control in boiler.

- Airfuel ratio control in Boiler.

7.a)	Explain the method of lubricating oil temperature control of a turbine.

b)	Explain the method of hydrogen generator cooling system.

8.	Write short notes on:

- PH meter

- Conductivity cell.

- Fuel analyzer.

********

Code No.411003

Set No.

4

IV-B.Tech I-Semester Supplementary Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marsk:80

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write briefly about the solar power generation method.

b)	Write short notes about the wind power generation method.

2.a)	Explain the method of smoke density measurement.

b)	Write short notes on the Nuclear power generation method.

3.	Write short notes about the following Electrical measurements in Power Plant Instrumentation.

- Frequency power factor.

- Power

- Trivector meter.

4.a)	Write short notes on dust monitor.

b)	Explain the methods of measurement of the flow of air and steam with correction factors.

5.	Write short notes on:

- Drum level (three element control) main and reheat steam temperature control in boiler.

- Airfuel ratio control in boiler.

6.a)	Explain about the spray and gas recirculation controls.

b)	Explain about the B.F.P recirculation control.

7.a)	Write the procedure to control the speed of Turbine.

b)	Explain the method of Turbine shell temperature monitoring and control.

8.a)	Write short notes on pollution monitoring and control equipment.

b)	With the help of a figure explain the function of spectrum Analyzer.

*********