Code No.411001

Set No.

1

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Analytical Instrumentation

(Electronics and Instrumentation Engineering)

Time: 3 Hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	With schematic diagram explain the beat frequency method for measuring conductivity.

b)	Draw and explain the equivalent circuit of the conductivity cell when used in high frequency methods.

2.a)	Explain the constructional details of sodium analyzer.

b)	Discuss the various principles used in sodium analyzer.

3.	Compare & contrast Liquid chromatography with Process gas chromatography?

4.	Explain the factors the accuracy and resolutions of a spectrophotometer depends on. Give a schematic to improve the resolution of a schematic to improve the resolution of spectrophotometer.

5.	Why is source modulation often employed in atomic absorption spectroscopy? Describe one particular technique of such spectroscopic analysis and explain its

operation.

6.a)	Explain what is meant by NMR.

b)	Draw the schematic diagram of a typical NMR spectrometer and explain it.

7.	Describe with a neat sketch the constructional details and application of a proportional counter.

- 8.	Explain the principle of operation of thermal conductivity analyzer used for 	estimation of components such as CO, CO2 etc.

- @@@@@

Code No.411001

Set No.

2

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Analytical Instrumentation

(Electronics and Instrumentation Engineering)

Time: 3 Hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	Define the term Conductivitymetry.

b)	With neat sketch explain the conductivity method for the measurement of SO2 in air sample.

2.a)	With neat block diagram explain any one type of sodium analyzer.

b)	Write short notes on clinical sodium analyzer.

3.	With the help of carrier flow diagram explain the operation of liquid chromatography in detail?

4.a)	Briefly explain how do you classify spectroscopic analysis techniques.

b)	Explain the scheme of a non-dispersive dual channel absorption type IR      	spectrometer.

5.a)	Briefly explain the double beam type atomic absorption spectroscope with a     block diagram.

b)	Explain briefly about flame photometry.

6.	Explain the principle and working of a continuous wave NMR spectrometer with a neat sketch.

7.	Draw the schematic of Geiger counter and explain the principle of operation.

8.	Explain how conductivity can be used in the estimation of sulphur dioxide.

@@@@@

Code No.411001

Set No.

3

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Analytical Instrumentation

(Electronics and Instrumentation Engineering)

Time: 3 Hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	What is pH? Explain the importance of pH measurement in process industries.

b)	Explain the principle of pH measurement.

c)	What is the role of buffer solution in pH measurement?

2.a)	With neat sketch explain the construction and controls of a general sampling system.

b)	With neat sketch explain the sampling mechanism of the automatic sampler.

3.	List the various applications of gas chromatography and explain any one application in detail.

4.	Explain the principle of Fourier transform spectrometry. How is it adopted in IR methods of analysis?

5.a)	Explain the importance of atomic spectroscopy.

b)	Explain grounded singlet, excited singlet and excited triplet states.

6.	Explain the principle and working of a continuous wave NMR spectrometer with a neat sketch.

7.	Write a short note on any two types of nuclear radiation detectors.

8.	How can infra-red gas analyzer be used to determine the components such as CO, 	CO2 and nitric oxide of a given sample?

@@@@@

Code No.411001

Set No.

4

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

Analytical Instrumentation

(Electronics and Instrumentation Engineering)

Time: 3 Hours							   Max. Marks: 80

Answer any FIVE questions

All questions carry equal marks.

---

1.a)	Draw the block diagram of digital pH meter and explain.

- Explain the applications of the pH measurement in process industries.

2.	With necessary diagrams explain the construction and working principle of silica analyzer.

3.	List the various applications of liquid chromatography and explain any one application in detail.

4.	What is a spectrophotometer and explain a typical UV/ visible spectrometer using double beam.

5.	Briefly explain about the atomic spectroscopy.

6.	List the different types of NMR spectrometer and explain the principle of any one type with a neat sketch.

7.	Explain with necessary sketches the constructional details of

a) G.M. counters.

b) Scintillation counter.

8.	Descibe in detail, how Galvanic method can be used to determine oxygen 	concentration of  a gas.

@@@@@