Code No:410857

OR

IV-B.Tech. I-Semester Supplementary Examinations, May 2003.

ENVIRONMENTAL ENGINEERING

(Chemical Engineering)

Time: 3 hours							         Max. Marks:70

Answer any FIVE questions

All questions carry equal marks

- - -

1.	What are the chemical industries which emit SO2 into the atmosphere ?

Discuss its effect on human health.

2.a)	Define BOD. State its importance in sewage analysis.

b) 	Explain the method of finding out BOD of a waste water.

3.a)	Define the term Mean Maximum Mixing Depth.

b)	What are the various types of plume behaviour?

c)	Give the equation for the estimation of dispersion coefficients.

4.a)	Explain the working, construction, and principles of electrostatic precipitator.

b) 	What are the advantages and disadvantages of electrostatic precipitator.

5.	It is desired to control sulfur-di-oxide  (SO2) emissions from thermal power 	plants. There are two alternatives available-one is the dry process and another is 	the wet process. Draw generalized flow diagram for the two processes and 	identify the control devices used in each case.

6.a)	Explain with a neat sketch, the working of a stabilization pond.

b) 	What is the effect of excess of sulphates on stabilization ponds.

7.a)	Explain the role of bacteria in the biological treatment of sewage.

b)  	Explain the bacteriological growth curve with a neat sketch.

8.	Write short notes on any three of the following:

(a) Screening	(b) Sedimentation   	(c) Floatation 	(d) Neutralization.

- - -