Code No.410258

OR

IV B.Tech I Semester (Supplementary) Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marsk:70

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write briefly about the Hydrothermal power generation method.

- Explain the PI diagram of Boiler-cogeneration.

2.a)	Draw the building blocks  of a Thermal  Power Plant  and explain about each block.

- Explain the method of smoke density measurement.

3.a)	Write about the details of the Boiler Processes.

- Write short notes on dust monitor.

4.	Write short notes about the following Electrical measurements in Power Plant Instrumentation.

a) Current   (b) Voltage    (c)  Power

5.	Write short notes on

- Combustion control in Boiler

- Control of main header pressure in Boiler.

6.a)	Briefly explain about the hot well and deaerator level control.

- Briefly explain about pulverizer control.

7.a)	Write short notes on condenser vacuum control.

b)	Write short notes on hydrogen purity meter.

8.a)	Explain the method of gland steam exhaust pressure control.

b)	Write short notes on pollution monitoring and control equipment.

********