Code No:410354

OR

IV-B.Tech. I-Semester Supplementary Examinations, May 2003.

PRODUCTION TECHNOLOGY-III

(Common to Mechanical Engineering and Production Engineering, Mechanical Manufacturing Engineering)

Time: 3 hours							         Max. Marks:70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the following terms with appropriate sketches

i)	Tolerance	ii)	Allowance	iii)	Fit

b)	Explain the concept of Interchangeability.

2.a)	With a neat sketch explain the working of a Dial indicator. Describe one application of it.

b)	What are the design requirements of a sine bar? How do you measure the taper angle of a taper plug gauge using a sine bar.

3.a)	Define Flatness and describe the method of testing flatness of a surface using optical flat.

b)	With a neat sketch explain working of an Autocollimator.

4.a)	Distinguish between surface roughness and surface waviness.

b)	What is CLA value of surface roughness?

c)	Explain the basic principle involved in stylus probe instruments used to measure surface roughness.

5.a)	Differentiate between a gauge and instrument.

b)	Explain Taylor’s principle of Limit gauges.

c)	What is the visible difference between GO and NOGO end of a cylindrical plug gauge.

6.a)	What is the difficulty in using the optical flat alone? How do you overcome this difficulty in an interferometer.

b)	Describe the method of finding error in a slip gauge interferometer.

7.a)	Explain with a neat sketch the principle of working of a pneumatic comparator.

b)	Calculate settings for a gear tooth vernier for inspecting a gear of 33 teeth and 6 module. Derive the expressions for chordal addendum and chordal tooth thickness.

8.a)	Describe three wire method of measuring effective diameter of a screw thread and derive the expression for the same.

b)	With sketches explain the alignment tests to be conducted on a Lathe spindle.

^^^