Code No:410457

OR

IV-B.Tech. I-Semester Supplementary Examinations, May 2003.

PRINCIPLES OF BIO-MEDICAL INSTRUMENTATION

(Electronics and Communication Engineering)

Time: 3 hours							         Max. Marks:70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain how action potentials are generated in the muscles. Also explain 	Depolarization and Repolarization of    cells.

b)	What are the different types of Bioelectric potentials generated  in the body ? 	Explain.

2.a)	Give the classification of heart sounds based on their origin and explain briefly 	about each.

b)	Explain how the heart sounds are measured or recorded?

3.a)	Mention the different biomedical electrodes and explain the desired 	characteristics of the same?

b) 	What is the role of half-cell potential when measuring Bioelectric signal?

4.a)	Describe the components of a typical EMG recording system.

b)	What are the technical differences between the recorders used for EMG and 	ECG?

5.a)	Discuss the various lead configurations of ECG recording.

b) 	Give the six positions of the chest electrodes used in the precordial lead system.

6.a)	What is the method of electrode placement during EEG recording in hospitals?

b)  	Explain the characteristics of EEG wave.

7.a)	With the help of a neat block diagram explain the working of an external 	pacemaker.

b)	Write short notes on short wave diathermy.

8.a)	What is the basic principle of computerized tomography ? Explain.

b)	Write a note on CT number scale used in CT.

- - -