Code No.:  411052

OR

IV  B.Tech  I Semester (Supplementary) Examinations, May 2003

DIGITAL INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 hours							Max. Marks:70

Answer any FIVE questions

All questions carry equal marks

- - -

1.a)	Explain the working principle of variable-frequency ADC with block diagram and timing diagram. State its advantage and disadvantage.

b)	Write short notes on quantization error, offset error and gain error.

2.a)	Explain the principle of operation of a single slope ADC .

b)	Explain linearity error and integral linearity error.

c)	State the methods for testing monolithic ADC’s.

3.a)	Explain in detail how automatic ranging is implemented in digital multimeter. Illustrate with an example.

b)	Draw a circuit diagram for Automatic zeroing that can be used with dual slope ADC. Explain its working principle.

c)	Discuss the advantage and disadvantage of analog and digital type of oscilloscope.

4.a)	Explain the FM method of magnetic tape recording and state its advantage and disadvantage.

b)	Describe the method of pulse duration modulation as used in magnetic tape recording.

5.a)	Draw a circuit showing how a 12 bit D/A converter can be interfaced to a 8 bit processor port so that the D/A converter gets all 12 bit at the same time.

b)	Explain non-multiplexed output A/D converter and multiplexed output A/D converter.

6.a)	Draw the block diagram of a data acquisition system and explain its operation.

b)	Explain in detail about sample and hold circuit.

7.a)	Describe in detail binary weighted resistance D/A converter.

b)	A D/A converter has 6 bits and a reference voltage of 10V. Calculate the minimum value of R such that the maximum value of output current does not exceed 10mA. Find also the smallest quantified value of output current.

c)	Explain with neat diagram the operation of Shannon rock DAC.

8.a)	State the functional specification of RS232C	.

b)	Explain bit-serial interface and byte serial interface.

c)	List the sequence in which the four major control line become true in the normal setup to data transmission over an RS232C interface.

c)	Why does a parallel output interface require a latch?

- x-