Code No.: 411053

OR

- IV-B.Tech. I-Semester Supplementary Examinations, May 2003

AIRCRAFT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							   Max. Marks: 70

Answer any FIVE questions

All questions carry equal marks.

---

1.	What are the various Instruments to be installed in an Aircraft.  Briefly explain about each instrument.

2.	Write short notes on:

a) Altimeters.

b) Machmeters.

3.	Write short notes on:

a) Directional gyro indicator.

b) Artificial horizon of Gyroscopic instruments.

4.	Give the complete notes about the vertical speed indicators with the necessary figures.

5.	Explain about the different types of compass errors with the necessary figures.

6.	Write short notes on the following:

a) Elastic Pressure Sensing Elements.

b) Remote- Indicating Pressure Gauges.

7.	List any two types of systems for the measurement of Fuel quantity.  Explain their operation with the necessary figures.

8.a)	Explain the operation of turn and slip indicators with a necessary figure.

b)	With the necessary figures explain the principle and operation of an exhaust gas temperature measurement system.

@@@@@