Code No.411057

OR

IV-B.Tech I-Semester Supplementary Examinations May, 2003

POWER PLANT INSTRUMENTATION

(Electronics and Instrumentation Engineering)

Time: 3 Hours							Max. Marks:  70

Answer any Five questions

All questions carry equal marks

- - -

1.a)	Write briefly about the solar power generation method.

b)	Write short notes about the wind power generation method.

2.a)	Explain the method of smoke density measurement.

b)	Write short notes on the Nuclear power generation method.

3.	Write short notes about the following Electrical measurements in Power Plant Instrumentation.

- Frequency power factor.

- Power

- Trivector meter.

4.a)	Write short notes on dust monitor.

b)	Explain the methods of measurement of the flow of air and steam with correction factors.

5.	Write short notes on:

- Drum level (three element control) main and reheat steam temperature control in boiler.

- Airfuel ratio control in boiler.

6.a)	Explain about the spray and gas recirculation controls.

b)	Explain about the B.F.P recirculation control.

7.a)	Write the procedure to control the speed of Turbine.

b)	Explain the method of Turbine shell temperature monitoring and control.

8.a)	Write short notes on pollution monitoring and control equipment.

b)	With the help of a figure explain the function of spectrum Analyzer.

*********